## MasterItemList
Mfg Item | Att Item | Item Mfg | Market Price | Description
012-526-20-040 | NEQ.12371 | ARGUS TECHNOLOGIES | 292 | Argus,012-526-20-040,,,,CXDF24-44 2.2kw Converter,Module,,,
053-997-20-000 | NEQ.13289 | ARGUS TECHNOLOGIES | 2378.64 | Argus,053-997-20-000,,,,CXPS 24 to 48VDC Converter,System (standalone) with,split,bus,
2X60W-1900-UMTS | CEQ.18517 | Lucent Technologies | 6919.81 | Lucent,2x60W-1900-UMTS,,,,UMTS Twin 1900 60W RRH,w/Ancillary,,,
2X60W-850-UMTS | CEQ.18520 | Lucent Technologies | 5033 | Lucent,2x60W-850-UMTS,,,,UMTS Twin 850 60W RRH,w/Ancillary,,,
3BK16817BKAA | CEQ.14171 | Lucent Technologies | 2277.3 | Lucent,3BK16817BKAA,ATW-14-B30008-A1,,,GLI-ATT LTE 700L-DE RRH,w/SMDF SFP Remote Radio Head,,for FFA,only,
3JR10601AA | CEQ.11535 | Lucent Technologies | 1950 | Lucent,3JR10601AA,,,,RRH,2x60W-850,,,
3JR10601AA-UMTS | CEQ.18521 | Lucent Technologies | 1950 | Lucent,3JR10601AA-UMTS,,,,UMTS Twin 850 60W RRH,Spare,,,
3JR10801AA-UMTS | CEQ.18522 | Lucent Technologies | 6901 | Lucent,3JR10801AA-UMTS,,DISCONTINUED USE,CEQ.11533,UMTS Twin 1900 60W RRH Spare
3JR38037AA | CEQ.14169 | Lucent Technologies | 1900 | Lucent,3JR38037AA,,,,Remote Radio Head 2x40-07L-DE,RRH -48V AISG,2.0,,
474240A | CEQ.19798 | NOKIA | 8343 | Nokia,474240A,18US826350A06A,,,B12/14 AHLBA,RRH,,,
F1009296 | CEQ.31195 | EMERSON NETWORK POWER | 636 | Emerson Network Power,F1009296,,,,Top Cap Assembly, 7in chamber,for cable entry and,dressing,,
KRC161241/1 | CEQ.10467 | Ericsson | 1984.65 | Ericsson,KRC161241/1,,,,RRUS 11 B12, Radio,Unit,,,
KRC161241/2 | CEQ.14980 | Ericsson | 2443.04 | Ericsson,KRC161241/2,,,,Non-comm RRUS11 B12 Enh Fltr,2x40W,-48V,,
KRC161276/2 | CEQ.11573 | Ericsson | 1885.42 | Ericsson,KRC161276/2,,,,RRUS 11 B2,Radio Unit
KRC161299/2 | CEQ.13052 | Ericsson | 3950 | Ericsson,KRC161299/2,,,,RRUS 12 B2, Radio Unit,(1900),,,
UCRRUS11EB12-48A | CEQ.14979 | Ericsson | 1710.94 | Ericsson,UCRRUS11EB12-48A,,STANDARDIZATION EXCEPTION,,RRUS11 B12 Enh Fltr 2x40W,-48V,-48V,,
2000001858-V2 | CEQ.18762 | PURCELL SYSTEMS | 2885 | Purcell,2000001858-V2,FLX12WS,,,48V DC Network Interface,Device Cabinet w/integrated,Heater for Out of Region 12RU,E74507 OD encl Incl Fuse,Panel
2000004958 | CEQ.18763 | PURCELL SYSTEMS | 2675 | Purcell,2000004958,,,,FLX12-2420 enclosure Note:,FOR SCM BOM USE ONLY -,CORRECT ITEM TO ORDER IS,CEQ.18762,
KRC161328/4 | CEQ.15426 | Ericsson | 2668.46 | Ericsson,KRC161328/4,,,,mRRUS12 B2, Radio Unit (DC ext.ant)
KRC161489/1 | CEQ.16936 | Ericsson | 3030.5 | Ericsson,KRC161489/1,,STANDARDIZATION EXCEPTION,,TRANSCEIVER/Radio 2203 B2/B25 (LTE),Radio Unit
KRC161636/3 | CEQ.18398 | Ericsson | 3800 | Ericsson,KRC161636/3,,,,TRANSCEIVER/RADIO 4415 B2 B25,RADIO UNIT
NPGMT1122 | NEQ.18832 | WESTELL | 249 | Westell,NPGMT1122,,,,10 Position 70A 24V/-48V GMT,Fuse Panel, Front,Access,,
UC2203B2DCNOANT | CEQ.17239 | Ericsson | 3564.63 | Ericsson,UC2203B2DCNOANT,,,,RADIO 2203 DC B2 NO ANT,20MHZ,10MHZ,,
588810200ZZ001 | NEQ.15311 | EMERSON NETWORK POWER | 2995 | Emerson Network Power,588810200ZZ001,,,,NetSure 24V VRLA Battery,Stand, 23,inch,,
F2012504 | NEQ.15917 | EMERSON NETWORK POWER | 8733 | Emerson Network Power,F2012504,,DISCONTINUED USE,NEQ.19341,Power and Battery,Cabinet,,,
NPGMT1012 | NEQ.15129 | WESTELL | 175 | Westell,NPGMT1012,,,,15/15 Position 20A 24v/-48v,GMT Fuse,Panel,,
PTS3701-1515 | NEQ.17862 | Pacific Technical Solutions | 1535 | Pacific Technical Solutions,PTS3701-1515,,,,Hybrid Bay with 15/15 fuse,panel and 72 Fiber,Tray,,
1/BFL901009/4 | CEQ.12295 | Ericsson | 1068.36 | Ericsson,1/BFL901009/4,,,,SUP 6601, Equipped magazine V2 -48V
UCNTM1012589_1 | CEQ.13098 | Ericsson | 1183.61 | Ericsson,UCNTM1012589_1,,,,Spare part for SUP 6601, 48V,,V2,,,
3JR80215AAAA | CEQ.18079 | NOKIA | 2400 | Nokia,3JR80215AAAA,473096A,,,(VO# 18US826350A00A) ABIA Airscale Modem for NSB and Growth
3JR80216AAAA | CEQ.18270 | Alcatel-Lucent | 1600 | Alcatel-Lucent,3JR80216AAAA,473095A,,,(VO# 18US826350A01A) ASIA Card for for NSB and Growth, Alternate CEQ.17557
473096A | CEQ.17558 | NOKIA | 1 | Nokia,473096A,17US65591601,DISCONTINUED,,ABIA Airscale Modem FOR FSM4,SWAP,ONLY,,
582137000ZZ007 | NEQ.19366 | EMERSON NETWORK POWER | 3445 | Emerson Network Power,582137000ZZ007,,,,NetSure 512 -48V Indoor,Integrated Power,System,,
BFX101114/1 | CEQ.11794 | Ericsson | 1500 | Ericsson,BFX101114/1,,,,DELIVERY UNIT/PEC RBS 6202 ,(cabinet),,,
F1010481 | NEQ.16144 | EMERSON NETWORK POWER | 5288 | Emerson Network Power,F1010481,,,,Configured 48 VDC Outdoor,Power System NetXtend Flex,Power,Cabinet,
F1010598 | NEQ.15998 | EMERSON NETWORK POWER | 400 | Emerson Network Power,F1010598,,,,Battery Cabinet 4in,Plinth,,,
F2015053 | NEQ.19341 | EMERSON NETWORK POWER | 8733 | Emerson Network Power,F2015053,,DISCONTINUED USE,NEQ.19918,NetSure 512 Configured 48V,Outdoor Power System, NCU,Controller,Cabinet,
030-638-20-023 | NEQ.12382 | ARGUS TECHNOLOGIES | 554 | Argus,030-638-20-023,,,,7ft Seismic Rack, 23 in.,mounting,,,
1/BFM901430/1 | CEQ.10546 | Ericsson | 2310.4 | Ericsson,1/BFM901430/1,,,,EQUIPPED CABINET/6601 MU,Enclosure,,,
1/BFM901575 | CEQ.15208 | Ericsson | 6750 | Ericsson,1/BFM901575,,,,CABINET/Purcell FLX16-2520,1600W - RBS (V2,Cab),,
12300KW201-1 | NEQ.16100 | TELECT | 550 | Telect,12300KW201-1,,,,Bell Rack 7FT x 23IN Grey,with ISO Pad and Concrete,Anchors,included,
2000001397/ | CEQ.10553 | Ericsson | 321.74 | Ericsson,2000001397/,,DUPLICATE ITEM USE,CEQ.31963,14in Plinth Assembly for Base,FLX16WS,,,
2000001402 | CEQ.31908 | PURCELL SYSTEMS | 2602.93 | Purcell,2000001402,FLX12WS,STANDARDIZATION NON-APPROVED,,+24V DC Outdoor Cabinet w/HEX,for ancillary equipment only,NO HEATER, 12RU outdoor,enclosure,
2000003132 | CEQ.14176 | PURCELL SYSTEMS | 399.95 | Purcell,2000003132,,14in Plinth Assembly for Base,FLX12WS
582127000ZZ041 | NEQ.19475 | EMERSON NETWORK POWER | 3046.55 | Emerson Network Power,582127000ZZ041,,DISCONTINUED USE,NEQ.19735,NetSure 721 -48v Integrated,Power System w 3 Battery,Trays,,
KDU137925/31 | CEQ.16615 | Ericsson | 4300 | Ericsson,KDU137925/31,,,,PROCESSOR UNIT/BASEBAND 5216,,DIGITAL,UN,,
UC6601ODBB5216 | CEQ.17574 | Ericsson | 14782.75 | Ericsson,UC6601ODBB5216,,DISCONTINUED,,RBS6601 OUTDOOR V2,BB5216,,,
053-383-20 | NEQ.12384 | ARGUS TECHNOLOGIES | 1179.62 | Argus,053-383-20,,DISCONTINUED,,7ft Seismic Rack w/3 Battery,Trays for 3 x 48V GNB y,Strings,,
109766345 | CEQ.10937 | Lucent Technologies | 1 | Lucent,109766345,,,,SLI-9442 RRH 2x40 700L AISG,2.0,-48VDC,,
12545-300 | NEQ.16045 | TELECT | 275 | Telect,12545-300,,,,17.75-inch x 19-inch Seismic Rack UEF Base Telco Gray
2000000744 | CEQ.31910 | PURCELL SYSTEMS | 503.51 | Purcell,2000000744,,DISCONTINUED USE,CEQ.14174,Pole Mount Kit for,FLX12WS,,,
2000003126 | CEQ.14174 | PURCELL SYSTEMS | 544 | Purcell,2000003126,,,,Pole Mount Kit for,FLX12WS,,,
584622200 | NEQ.15184 | EMERSON NETWORK POWER | 945.25 | Emerson Network Power,584622200,,,,19in Expansion Converter,Shelf (Stand-alone), 24V TO,-48V with,Distribution,
584622300 | NEQ.15954 | EMERSON NETWORK POWER | 1230.25 | Emerson Network Power,584622300,,,,23in Main Converter Shelf,(Stand-alone), 24V TO -48V,with,Distribution,
BGM1361006/3 | CEQ.15326 | Ericsson | 547 | Ericsson,BGM1361006/3,,,,CONTROL PANEL/SCU 03,01,Support,Control,,
BMG1361006/3 | CEQ.12811 | Ericsson | 1586 | Ericsson,BMG1361006/3,,DISCONTINUED USE,CEQ.15326,Control Panel/SCU 03 01,,Support Control,Unit,,
BMG980336/5 | CEQ.11890 | Ericsson | 224.24 | Ericsson,BMG980336/5,,,,DISTRIBUTION UNIT/PDU 02 02, Power Distr
CEQ10935 | CEQ.10935 | Lucent Technologies | 1 | Lucent,CEQ.10935,ATW-11-B30057-I1,DISCONTINUED USE,CEQ.12461,LTE 700L RRH Remote Radio,Head P2 AISG2.0 spec with,SMDF SFP (D2.0,RRH),
KFE1011164/3 | CEQ.18638 | Ericsson | 137.01 | Ericsson,KFE1011164/3,,,,FILTER UNIT/PCF 02 08, POWER CONNECTION
NCD90156/1 | CEQ.16695 | Ericsson | 296.97 | Ericsson,NCD90156/1,,,,MODULE/GPS 03 01, GPS RECEIVER UNIT
UC6202RDSBB5216 | CEQ.20152 | Ericsson | 16112.86 | Ericsson,UC6202RDSBB5216,,DISCONTINUED,,USE CEQ.21880,CEQ.22051,CEQ.22,060,or,CEQ.21872 RDS RBS6202 B,B 5216, 50 PRB No IRU/DUW,,
UCRRUS11B12-48 | CEQ.11612 | Ericsson | 2637.09 | Ericsson,UCRRUS11B12-48,,DISCONTINUED USE,CEQ.14979,RRUS11 B12 700, 5MHz BW,,2x30W,-48V,,
747-502-20-000 | NEQ.13293 | ARGUS TECHNOLOGIES | 296.05 | Argus,747-502-20-000,,DISCONTINUED USE,NEQ.16457,Cordex CXCI Controller,24V,,,
KRC161321/2 | CEQ.13054 | Ericsson | 3950 | Ericsson,KRC161321/2,,,,RRUS 12 B5 Radio Unit,(850),,,
BFX101113/2 | CEQ.12556 | Ericsson | 2500 | Ericsson,BFX101113/2,,,,DELIVERY UNIT/PEC RBS 6201,(cabinet),,,
KRC161408/1 | CEQ.14088 | Ericsson | 4400 | Ericsson,KRC161408/1,,,,RRUS E2 B29, Radio Unit
UCRRUSE2B29-48 | CEQ.14086 | Ericsson | 4691.71 | Ericsson,UCRRUSE2B29-48,,,,Non-commercial, RRUSE2 B29,2x40W TX,-48V,,
582127000103 | NEQ.19735 | VERTIV | 3046.55 | Vertiv,582127000103,,DISCONTINUED USE,NEQ.20068,NetSure 7100 -48v Integrated Power System w 3 Battery Trays
RDH10247/3 | CEQ.32058 | Ericsson | 48.06 | Ericsson,RDH10247/3,,,,SFP SM CPRI 614.4-2457.6 Mbit/s 20km, GbE 10km DFB LC-SFP
1M830DNA562919 | NEQ.20048 | VERTIV | 435 | Vertiv,1M830DNA562919,,,,Kit, NCU 2X2 Field Retrofit,562919,Configuration,,
2000001858 | CEQ.10759 | PURCELL SYSTEMS | 2851 | Purcell,2000001858,FLX12WS,DISCONTINUED USE,CEQ.18762,-48V DC Network Interface,Device Cabinet w/integrated,Heater for Out of Region 12RU,outdoor enclosure
474216A | CEQ.19790 | NOKIA | 5994 | Nokia,474216A,18US826350A05A,,,1 Band 25/Band 66 Dual Band,RRH,,,
KRC11874/2 | CEQ.12118 | Ericsson | 2572 | Ericsson,KRC11874/2,,,,RRUS 01 B2 Remote Radio Unit,(80W),1900,,
UCRRUS11B2-48 | CEQ.11611 | Ericsson | 1710.94 | Ericsson,UCRRUS11B2-48,,DISCONTINUED,,RRUS11 B2 1900, 10MHZ BW,,2x40W,,-48V,,
2000-C85P19L70A17-A-TC | CEQ.11130 | MobileAccess Networks | 4669.8 | MobileAccess Networks,2000-C85P19L70A17-A-TC,,,,MA2000 QSX Quad Service CELL/ PCS / 700 MHz LTE / AWS inTCEnclosure (Core)
MS-EC-3G4G10-32 | CEQ.16772 | NOKIA | 1965 | Nokia,MS-EC-3G4G10-32,16US623585A00A,9962 Multi-Standard,Enterprise Cell V1.0 3G(5MHz),4G (10MHz) 32SAU without WiFi,32,Users
BKV106135/1 | CEQ.13684 | Ericsson | 137.18 | Ericsson,BKV106135/1,,,,FAN/Fan,unit,,,
BMG980336/4 | CEQ.11793 | Ericsson | 1500 | Ericsson,BMG980336/4,,,,DISTRIBUTION UNIT/PDU 02 01,,Power,Distr,,
KRC161669/3 | CEQ.17996 | Ericsson | 5000 | Ericsson,KRC161669/3,,,,TRANSCEIVER/RADIO 4478 B14,RADIO UNIT
109777250 | CEQ.11160 | Lucent Technologies | 5000 | Lucent,109777250,,SURPLUS INVENTORY,,SLI-9442 RRH AWS 2x40W (-48VDC) AISG 2.0
KRC11859/2 | CEQ.11666 | Ericsson | 1350 | Ericsson,KRC11859/2,,,,TRANSCEIVER/RUS 01 B4, Radio Unit (Spares Only)
UCRUS01B4MACRO | CEQ.14632 | Ericsson | 1350 | Ericsson,UCRUS01B4MACRO,,,,RUS01 B4, 5MHz BW, 1x80W,MACRO,,,
3JR38001AA | CEQ.12460 | Lucent Technologies | 6199.59 | Lucent,3JR38001AA,,,,SLI-RRH2x40-07L-AT AISG 2.0,-48VDC,RRH,,
3JR80236AAAA | CEQ.19797 | NOKIA | 8746.72 | Nokia,3JR80236AAAA,18US826350A03B,,,B12/14 AHLBA RRH,W/ANCILLARY,,,
FLX12WS-48V | CEQ.32179 | PURCELL SYSTEMS | 2588.99 | Purcell,FLX12WS-48V,2000001512,DISCONTINUED USE,CEQ.13832,-48V DC Outdoor Cabinet w/HEX,for ancillary equipment only,NO HEATER, 12RU outdoor,enclosure,
FLX16WS-48V | CEQ.10721 | PURCELL SYSTEMS | 2500 | Purcell,FLX16WS-48V,,,,-48V DC Cabinet Outdoor,Enclosure (for SCM BOM use,only - do not order as,stand-alone item from Purcell,or other source)
KDU137533/4 | CEQ.10483 | Ericsson | 3965.36 | Ericsson,KDU137533/4,,,,PROCESSOR UNIT/DUL 20 01,,Digital,Unit,,
KFE1011162/2 | CEQ.11791 | Ericsson | 262.63 | Ericsson,KFE1011162/2,,,,FILTER UNIT/PFU 02 01, Power,Filter,Unit,,
KRC161472/3 | CEQ.20163 | Ericsson | 4500 | Ericsson,KRC161472/3,,,,TRANSCEIVER/RADIO 4426 B66,RADIO UNIT
RPM1136127/15M | CEQ.10463 | Ericsson | 50.21 | Ericsson,RPM1136127/15M,,,,External alarm cable
RPM77701/00250 | CEQ.14769 | Ericsson | 58 | Ericsson,RPM77701/00250,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM77701/00600 | CEQ.31703 | Ericsson | 113 | Ericsson,RPM77701/00600,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM77701/01600 | CEQ.15087 | Ericsson | 115 | Ericsson,RPM77701/01600,,,,CABLE WITH CONNECTOR/SIGNAL,,CABLE,,,
RPM777193/00200 | CEQ.14857 | Ericsson | 58 | Ericsson,RPM777193/00200,,,,CABLE WITH CONNECTOR/DC POWER,CABLE,,,
RPM777193/00315 | CEQ.21193 | Ericsson | 182.22 | Ericsson,RPM777193/00315,,,,CABLE WITH CONNECTOR/DC POWER,CABLE,,,
RPM777211/00900 | CEQ.12813 | Ericsson | 58 | Ericsson,RPM777211/00900,,,,CABLE WITH CONNECTOR/SIGNAL CABLE
RPM777211/01800 | CEQ.15341 | Ericsson | 84 | Ericsson,RPM777211/01800,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM777263/00320 | CEQ.13969 | Ericsson | 57.98 | Ericsson,RPM777263/00320,,,,CABLE WITH CONNECTOR/SIGNAL CABLE IDL
RPM777263/01000 | CEQ.11376 | Ericsson | 61.03 | Ericsson,RPM777263/01000,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM777263/01800 | CEQ.17316 | Ericsson | 96.62 | Ericsson,RPM777263/01800,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,IDL,,
RPM777274/00650 | CEQ.14288 | Ericsson | 58 | Ericsson,RPM777274/00650,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
TSRU41321/1600 | CEQ.12633 | Ericsson | 30.79 | Ericsson,TSRU41321/1600,,,,Connection Cable/5/16 Ring 2,AWG,Ground,,
1AB027220001 | CEQ.10910 | Lucent Technologies | 8.99 | Lucent,1AB027220001,16US614089A00A,DISCONTINUED USE,CEQ.20928,Kit Plug Weatherized-R2CT,Short,Plug,,
300275484 | CEQ.31360 | Lucent Technologies | 22.9 | Lucent,300275484,,,,SL-CBL Conn/SPL Weatherproof,,,,
471649A | CEQ.32098 | NOKIA | 75.6 | Nokia-Siemens,471649A,17US777192A30A,,,FPKA Flexi Pole,Kit,,,
472949A | NEQ.20022 | Alcatel-Lucent | 86.62 | Alcatel-Lucent,472949A,17US77719219,,,FOSP Optical SFP P 1310nm,9.8Gb 10km,SM,,
474283A | CEQ.20437 | NOKIA | 23.6 | Nokia,474283A,17US777192A12A,,,APPC AirScale2 55A DC plug,10-16,mm2,,
582137000ZZ001 | NEQ.16142 | EMERSON NETWORK POWER | 7012 | Emerson Network Power,582137000ZZ001,,,,NetSure 512 48V Integrated,Power,System,,
BFC901055/1 | CEQ.11595 | Ericsson | 41.46 | Ericsson,BFC901055/1,,,,SUBRACK/GPS 01 Adapter,Assembly,,,
DGXZ+06NFNF-A | CEQ.11396 | Ericsson | 96.03 | Ericsson,DGXZ+06NFNF-A,,,,GPS Lightning Arrestor
RPM2533512/2000 | CEQ.13117 | Ericsson | 12.83 | Ericsson,RPM2533512/2000,,,,CABLE WITH CONNECTOR/2F LC-LC, SM 2000
TSR4820211/2400 | CEQ.11284 | Ericsson | 15.39 | Ericsson,TSR4820211/2400,,,,CONNECTION CABLE/RJ45,STRAIGHT,,,
3JR38001AB | CEQ.14168 | Lucent Technologies | 1980 | Lucent,3JR38001AB,,STANDARDIZATION EXCEPTION,,Remote Radio Head,RRH2x40-07LAT RETUNED -48VDC,AISG,2.0,
3JR80235AAAA | CEQ.19789 | NOKIA | 6383.72 | Nokia,3JR80235AAAA,18US826350A04B,,,B25/B66 AHFIB RRH,W/ANCILLARY,,,
KRC161689/3 | CEQ.18673 | Ericsson | 3970 | Ericsson,KRC161689/3,,,,TRANSCEIVER/RADIO 4478 B5,RADIO UNIT
KRC161707/2 | CEQ.20547 | Ericsson | 8000 | Ericsson,KRC161707/2,,,,TRANSCEIVER/RADIO 8843 B2 B66A,RADIO UNIT
3DS23516AC | CEQ.16774 | NOKIA | 1965 | Nokia,3DS23516AC,,9962 Multi-Standard Enterprise, Cell Base Unit v1.0 without W,ifi EvM1-p24W32L64B5B4B2B12G-6,-ATTUS
F1010599 | NEQ.15999 | EMERSON NETWORK POWER | 400 | Emerson Network Power,F1010599,,,,Battery Cabinet 4in,Plinth,,,
KRC161423/1 | CEQ.14956 | Ericsson | 5280 | Ericsson,KRC161423/1,,STANDARDIZATION NON-APPROVED,,RRUS 32 B30, Radio,Unit,,,
KRC161553/1 | CEQ.16922 | Ericsson | 2555.5 | Ericsson,KRC161553/1,,STANDARDIZATION EXCEPTION,,TRANSCEIVER/Radio 2203 B66A,(AWS),Radio,Unit,,
UC2203B66DCNOANT | CEQ.17267 | Ericsson | 3564.63 | Ericsson,UC2203B66DCNOANT,,,,RADIO 2203 DC B66A NO ANT,20MHZ,10MHZ,,
UC6202DUS41A | CEQ.16688 | Ericsson | 8632.88 | ERICSSON,UC6202DUS41A,,DISCONTINUED,,RBS6202 DAS LTE DUS41 No,RU,PRB,,
UC620XBB5216EXP | CEQ.17570 | Ericsson | 5273.55 | Ericsson,UC620XBB5216EXP,,,,RBS6201 & RBS6202 LTE,BB5216-ONLY ,EXP,,
NFD30234/08 | CEQ.31556 | Ericsson | 33.25 | Ericsson,NFD30234/08,,,,OVERVOLTAGE ARRESTER/OVP-ALM 8
UC6201BB5216 | CEQ.17569 | Ericsson | 10648.51 | Ericsson,UC6201BB5216,,,,RBS6201 NO RU,,BB5216,,,
UCSAUOD | CEQ.17889 | Ericsson | 434.34 | Ericsson,UCSAUOD,,,,SAU KIT for Outdoor Purcell,Cabinet,,,
ZHY60119/1 | CEQ.16682 | Ericsson | 77.92 | Ericsson,ZHY60119/1,,,,ALARM UNIT/SAU 02 01 SUPPORT ALARM UNIT
KDU127174/1 | CEQ.15617 | Ericsson | 1530.28 | ERICSSON,KDU127174/1,,,,PROCESSOR UNIT/DUW 11,01,Digital,Unit,,
KDU137624/11 | CEQ.15840 | Ericsson | 5985 | Ericsson,KDU137624/11,,,,PROCESSOR UNIT/DUS 41 02,Digital Unit
KRC161444/2 | CEQ.17397 | Ericsson | 2141.05 | Ericsson,KRC161444/2,,,,INTERFACE UNIT/IRU 2242, INDOOR RADIO UN
KRY901328/1 | CEQ.15547 | Ericsson | 912.43 | Ericsson,KRY901328/1,,,,Radio DOT,B2,,,
SXA1342193/1 | CEQ.13803 | Ericsson | 100 | Ericsson,SXA1342193/1,,,,Dummy RU/FU,Unit,,,
UC6202RDSB2C | CEQ.17380 | Ericsson | 19138.67 | Ericsson,UC6202RDSB2C,,DISCONTINUED USE,CEQ.21880,RBS6202 B2 DUS/W IRU 8DOT,50PRB,64CE,,
KRC118048/1 | CEQ.11877 | Ericsson | 5000 | Ericsson,KRC118048/1,,,,AIR 21 B4A B5/12P,Radio Unit,(2,4m),,,
3JR39501AA | CEQ.13266 | Lucent Technologies | 4875 | Lucent,3JR39501AA,,,,RRH2x60 1900 with 2T4R FEU,Remote Radio,Head,,
KRC161331/4 | CEQ.15428 | Ericsson | 2668.46 | Ericsson,KRC161331/4,,,,mRRUS12 B12, Radio Unit (DC,ext.ant),,,
KRY901369/1 | CEQ.18170 | Ericsson | 557.96 | Ericsson,KRY901369/1,,,,ACCESSORIES/SUPPORT 6503 DUAL,AC FAN,SUP,,
UC2203B66DSACNOAN | CEQ.18167 | Ericsson | 6492.14 | Ericsson,UC2203B66DSACNOAN,,,,RADIO 2203 B66 DUAL-SUP AC NO,ANT,20MHZ,,
3JR59011AA | CEQ.16592 | Lucent Technologies | 2275 | Lucent,3JR59011AA,17US655766A00A,NO PURCHASE PLANS,CEQ.19790,Remote Radio Head B66a RRH4x45
BMK90541-2 | NEQ.11326 | Ericsson | 1020.68 | Ericsson,BMK90541/2,,,,PBC-MU2 Battery Cabinet,(Main),,,
BMK90542/2 | NEQ.13246 | Ericsson | 490.15 | Ericsson,BMK90542/2,,,,BATTERY,CABINET/PBC-BU2,,,
NTM1010584/1 | CEQ.10106 | Ericsson | 41.18 | Ericsson,NTM1010584/1,,,,ADDITIONAL PARTS SET/PBC-02,,ADD.,PARTS,,
NTM1010587/1 | CEQ.10123 | Ericsson | 111.44 | Ericsson,NTM1010587/1,,,,MOUNTING SET/PBC-02, PBC-BU,SINGLE,MOUNT,,
NTM19208/3 | CEQ.10113 | Ericsson | 100.13 | Ericsson,NTM19208/3,,,,MOUNTING SET/POLE BRACKET,SET,,,
OPA-65R-LCUU-H4-K | ANT.14457 | CCI (Circuit Components, Inc.) | 1500 | CCI,OPA-65R-LCUU-H4-K,,,,Ultra-broadband 4ft Oct-port,65degree 4x4 MIMO with,bracket,,
SAR201080/03 | CEQ.10149 | Ericsson | 1.37 | Ericsson,SAR201080/03,,,,LIFTING EYE BOLT/LIFTIG EYE,BOLT LT M8,S,,
TFK421322/10M | CEQ.31173 | Ericsson | 44 | Ericsson,TFK421322/10M,,DISCONTINUED,,PVC 2x2, 5 mm square,,shielded, 90 degreesC, UL FOR,3518 MU 1 ea when PBC02 is,Used,
TPM1010023/10M | CEQ.10148 | Ericsson | 28.35 | Ericsson,TPM1010023/10M,,,,CABLE/TFL3016003/4 10m,SPOOLED,,,
UCPBC0265B | NEQ.13249 | Ericsson | 5021 | Ericsson,UCPBC0265B,,DISCONTINUED USE,NEQ.13783,PBC-02 battery backup, 65Ah,Bus Adapter dual port,,includes std and low-profile,brackets, RoHS-6,
053-384-20 | NEQ.12120 | ARGUS TECHNOLOGIES | 2453.82 | Argus,053-384-20,,DISCONTINUED,,Indoor supplemental battery,expansion,rack,,
088-7054-0123-0000 | NEQ.15854 | TELECT | 2125 | Telect,088-7054-0123-0000,,,,Global Seismic Battery Rack,,5 Shelf, Disconnect at,-48V,,
UCPBC0239B | NEQ.13248 | Ericsson | 3941 | Ericsson,UCPBC0239B,,DISCONTINUED USE,NEQ.13784,PBC-02 battery backup, 39Ah,Bus Adapter dual port,,includes std and low-profile,brackets, RoHS-6,
KRC161290/1 | CEQ.13058 | Ericsson | 1950 | Ericsson,KRC161290/1,,,,RRUS A2 B4, Radio Unit,(AWS),,,
UCRRUSA2B4-48 | CEQ.13676 | Ericsson | 1424.82 | Ericsson,UCRRUSA2B4-48,,DISCONTINUED,,RRUS A2 B4 1700/2100, 5MHz,BW,,-48V,,
088-7154-0123-0000 | NEQ.13902 | TELECT | 1937.16 | Telect,088-7154-0123-0000,,DISCONTINUED USE,NEQ.15854,Seismic Battery Rack, 5 shelf,23in,48VDC,,
3HE06791AA | NEQ.17279 | Alcatel USA | 750 | Alcatel-Lucent,3HE06791AA,ATT15DM0054A1,,,7705 SAR-8 Shelf,V2,,,
KRC161285/2 | CEQ.11572 | Ericsson | 1885.42 | Ericsson,KRC161285/2,,,,RRUS 11 B5: Radio Unit
CC109145843 | NEQ.13095 | LINEAGE POWER | 550 | Lineage Power,CC109145843,,,,24V to 48V Converter Shelf,Plant with Converter Shelf,,Mounted in 23in 7ft Frame,,
RPM777279/01000 | CEQ.11377 | Ericsson | 61.03 | Ericsson,RPM777279/01000,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RRH2X60-4R-1900-L-SFP5 | CEQ.14553 | Lucent Technologies | 5733.94 | Lucent,RRH2x60-4R-1900-L-SFP5,ATW-14-B30015-B1,DISCONTINUED,,1900A RRH 4 Branch RX LTE,with CPRI Rate 5,SFP,,
3JR39501AA-UMTS | CEQ.18523 | Lucent Technologies | 4875 | Lucent,3JR39501AA-UMTS,,,,1900A RRH 4 Branch RX UMTS,Spare,,,
3JR10801AA | CEQ.11533 | Lucent Technologies | 6901 | Lucent,3JR10801AA,,,,RRH,2x60W-1900,,,
1/BFL901009/1 | CEQ.10351 | Ericsson | 2306.6 | Ericsson,1/BFL901009/1,,DISCONTINUED USE,CEQ.12295,EQUIPPED MAGAZINE/SUP 6601, Equipped magazine
582136800ZZ070 | NEQ.19320 | EMERSON NETWORK POWER | 2000.11 | Emerson Network Power,582136800ZZ070,,,,NetSure 502 Integrated Power,System 48V 19In 6RU Indoor,(ASG,Only),
CC109142056 | NEQ.13086 | LINEAGE POWER | 425 | Lineage Power,CC109142056,150042937,,,Digital Battery Plant Controller
KRC161331/3 | CEQ.15427 | Ericsson | 2808.91 | Ericsson,KRC161331/3,,,,mRRUS12 B12, Radio Unit (AC,ext.ant),,,
LTE-2X60W-1900-DUALPA | CEQ.12298 | Lucent Technologies | 6709.16 | Lucent,LTE-2x60W-1900-DUAL PA,ATW-12-B30071-G1,DISCONTINUED USE,CEQ.14553,LTE Twin 1900 60W RRH,w/Ancillary - Dual PA,Activation,,
RRH2X60-4R-1900-UMTS | CEQ.18519 | Lucent Technologies | 5733.94 | Lucent,RRH2x60-4R-1900-UMTS,,,,1900A RRH 4 Branch RX UMTS w/,Ancillary,,,
UC6601ODREUSE02 | CEQ.18602 | Ericsson | 6123.2 | ERICSSON,UC6601ODREUSE02,,,,RBS 6601 OD DUS-41,02,,,
3HE06151AC | NEQ.19358 | Alcatel-Lucent | 2250 | Alcatel-Lucent,3HE06151AC,16US624943A00A,,,7705 8-Port GE SFP Card V3,-48/+24,VDC,,
3JR50552AC | CEQ.17843 | NOKIA | 1 | Nokia,3JR50552AC,17US77719205,DISCONTINUED,,Site Monitoring Mod SMMo,Energy,Monitrng,,
KDU137624/1 | CEQ.12560 | Ericsson | 4861.32 | Ericsson,KDU137624/1,,,,PROCESSOR UNIT/DUS 41,01,Digital,Unit,,
PE-OD1111-NEW-V1 | CEQ.21190 | Telcobuy.com Services | 4600 | Nokia,PE-OD1111-NEW-V1,,,,FSM4 NSB OD BOM (SCM INTERNAL,USE,ONLY),,
UC6601ODREUSE01 | CEQ.18600 | Ericsson | 6123.2 | ERICSSON,UC6601ODREUSE01,,,,RBS 6601 OD,DUS-41,,,
1R482000E3 | NEQ.15930 | EMERSON ENERGY SYSTEMS | 139.4 | Emerson Energy,1R482000E3,,,,eSure Rectifier -48VDC 2000W,1RU,,,
KDU127161/3 | CEQ.10465 | Ericsson | 6195 | Ericsson,KDU127161/3,,,,PROCESSOR UNIT/DUW 30,01,Digital,Unit,,
KDU137949/1 | CEQ.15213 | Ericsson | 950 | Ericsson,KDU137949/1,,,,Baseband R503, Auxiliary Mux,Unit,,,
ME-3400E-24TS-M | SEQ.10535 | Cisco Systems (CISCOPRO) | 958 | Cisco,ME-3400E-24TS-M,,,,ME3400E 1U Ethernet Access,Switch 24-port 10/100+2,Combo,,
3JR80230AAAA | CEQ.18596 | NOKIA | 250 | Nokia,3JR80230AAAA,17US77719208,,,Site Monitoring Mod SMMi,Energy Monitrng,Indoor,,
588810200ZZ002 | NEQ.15978 | EMERSON NETWORK POWER | 2495 | Emerson Network Power,588810200ZZ002,,,,Battery Rack, +24V, Five,Trays, 100A CB per,String,,
F2012495 | NEQ.15918 | EMERSON NETWORK POWER | 6354 | Emerson Network Power,F2012495,,,,-48V 6-String Battery,Cabinet,,,
486529602 | CEQ.23901 | Marconi | 995 | Emerson Network Power,486529602,,,,RECT V100B25 VORTEX PCU 24V,100A,,,
12300KW201-1R | NEQ.16112 | TELECT | 362 | Telect,12300KW201-1R,,,,Bell Rack 7FT x 23IN Grey,with ISO Pad and Raised Floor,Anchors,included,
582127000203 | NEQ.20068 | VERTIV | 3257.95 | Vertiv,582127000203,,NetSure 7100 -48v Integrated
1C48241500 | NEQ.15929 | EMERSON NETWORK POWER | 164.4 | Emerson Network Power,1C48241500,,,,Converter C48/24-1500 -48V to,24V 62A,1500W,,
2000-RC-LP | CEQ.26184 | MobileAccess Network | 1307.2 | MobileAccess Networks_2000-RC-LP____Remote Cabinet All Services____
088-7152-0123-0000 | NEQ.13240 | TELECT | 1793.33 | Telect,088-7152-0123-0000,,DISCONTINUED USE,NEQ.15853,Seismic Battery Rack, 5,Shelf,,24VDC,,
800-10723V01K | ANT.12793 | KATHREIN | 1315.8 | Kathrein,800-10723V01 K,,,,Dual Broadband Xpol Antenna,,700/850 and AWS/PCS dual-port,ft 85deg, AISG,2.0,
474045A | CEQ.17830 | Alcatel-Lucent | 5000 | Alcatel-Lucent,474045A,17US77064402,STANDARDIZATION PENDING,,FRBI Flexi RRH 4-pipe 760,160W,,,
NCS-1RU-FAN-FW | SEQ.18680 | Cisco Systems (CISCOPRO) | 100 | Cisco,NCS-1RU-FAN-FW,,,,NCS 5500 1RU Chassis Fan Tray,Port-S Intake /,Front-to-back,,
NCS-5501-SE | SEQ.18682 | Cisco Systems (CISCOPRO) | 7500 | Cisco,NCS-5501-SE,,,,NCS5501 40x10G and 4x100G,Scale,Chassis,,
NCS-5501-SE-ATT | SEQ.18678 | Telcobuy.com Services | 10833.54 | Telcobuy,NCS-5501-SE-ATT,,,,NCS5501 - 40x10G and 4x100G,Scale Chassis, NCS 5500 Core,and Aggregation Lic for,NCS-5501-SE, Cisco NCS 5500,IOS XR 6.1 Image
NCS-950W-DCFW-A | SEQ.18721 | Cisco Systems (CISCOPRO) | 100 | Cisco,NCS-950W-DCFW-A,,,,NCS 5500 DC 950W Power Supply,Single Hole Terminal,Block,,
849155676 | CEQ.12143 | Lucent Technologies | 3052.9 | Lucent,849155676,,,,9396 D4U InPM,Module,,,
849164306 | CEQ.12144 | Lucent Technologies | 2919 | Lucent,849164306,,,,9396 D4U IOU,Unit,,,
849164363 | CEQ.12139 | Lucent Technologies | 4566 | Lucent,849164363,,,,9396 D4U Indoor Cabinet Assy,-48V,,,
849164439 | CEQ.12142 | Lucent Technologies | 6025.5 | Lucent,849164439,,,,9396 D4U CTP Card (CPRI,,Timing &,Power),,
849168893 | CEQ.12141 | Lucent Technologies | 1673.75 | Lucent,849168893,,,,9396 D4U Fan,Tray,,,
D4U-ID-ANC-XU | CEQ.14611 | Lucent Technologies | 9228.85 | Lucent,D4U-ID-ANC-XU,ATW-14-BI0135-A1,,,9396 D4U Indoor BBU with,Ancillaries, does not include,UCU-III,card,
KRC161134/2 | CEQ.30482 | Ericsson | 2000 | Ericsson,KRC161134/2,,,,TRANSCEIVER/RRU, 22 1940 NO,CASCADING,,,
KRY901345/1 | CEQ.16924 | Ericsson | 278.98 | Ericsson,KRY901345/1,,,,ACCESSORIES/Support 6501,Single AC FAN
UCCNSL2203B2AC | CEQ.17823 | Ericsson | 3164.38 | Ericsson,UCCNSL2203B2AC,,,,CONCEALED RADIO 2203AC B2,20MHZ,,,
URC-II-E1T1 | CEQ.25760 | Lucent Technologies | 2769.45 | Lucent,URC-II-E1T1,300741766/300741758,,,Universal Radio Controller II,URC-II,URC-II,,
HX-C85P19L70A17-AC-A | CEQ.11705 | MobileAccess Networks | 6389.8 | MobileAccess Networks,HX-C85P19L70A17-AC-A,,,,HX Quad Service Remote EndIndoor Unit, Cell / PCS / AWS/ 700 MHz LTE Solution,supports local AC power / SMF/ MMF (Core)
2000003241 | CEQ.14222 | PURCELL SYSTEMS | 3099 | Purcell,2000003241,,,,FLX12-2420 Cabinet w Rear,Door, Cabinet Only for,2000003063,,
3JR41325AA | CEQ.14339 | Lucent Technologies | 2275 | Lucent,3JR41325AA,,,,LTE-FD RRH4x25 WCS B30 Remote,Radio,Head,,
UC6601MUREUSE01 | CEQ.18599 | Ericsson | 6123.2 | ERICSSON,UC6601MUREUSE01,,,,RBS6601 MU DUS-41,INDOOR,,,
109678318 | CEQ.31368 | Lucent Technologies | 695 | Lucent,109678318,,DISCONTINUED,,Alarm Expansion Module (AEM),for D2U NodeB,BBU,,
300829553 | CEQ.27817 | Lucent Technologies | 9006.23 | Lucent,300829553/300829561,,,,FI-CPK UMTS Channel Card,UCU-III-E,,,
300988557 | CEQ.30602 | Lucent Technologies | 5912.69 | Lucent,300988557,301006730/109684589,DISCONTINUED,,Distributed NodeB 2U Base,Cabinet/Chassis UMTS,-48VDC,,
301007233 | CEQ.31097 | Lucent Technologies | 847.35 | Lucent,301007233,301009072/301021986,,,FI-MOD Indoor SEC PROT InPM,module for T1 growth (adds 4,ports),,
486529601 | CEQ.40561 | Marconi | 1600 | Marconi,486529601,,DISCONTINUED USE,CEQ.23901,Rectifier,,,,
ALU-DNB-ID-WALM-BBU(SFP) | CEQ.31550 | Lucent Technologies | 11001.77 | Lucent,ALU-DNB-ID-wALM-BBU(SFP),ATW-11-000039-C1,STANDARDIZATION EXCEPTION,,Indoor Distributed NodeB BBU,(base-band unit) w/upgraded,SFPs and w/o,RRH,
UCMRRUSB12DCEXTANT | CEQ.15434 | Ericsson | 3551.39 | Ericsson,UCmRRUSB12DCEXTANT,,,,Non-Comm mRRUS12 DC B12 Ext,Ant 10 MHz,BW,,
2000001403 | CEQ.10549 | PURCELL SYSTEMS | 296.68 | Purcell,2000001403,,DISCONTINUED USE,CEQ.17568,4in Plinth Assembly for Base,FLX16WS or,FLX12WS,,
071-9000-0015 | NEQ.19750 | TELECT | 1975 | Telect,071-9000-0015,,,,CRAN 19in Active Ericsson,Rack Configuration Incl Fuse,Panel(Central,Office),
1231V2 | CEQ.72839 | Marconi | 1000 | Marconi,1231V2,,,,24V POWER CONTROL PANEL,,,,
HPGMT10FA | NEQ.15111 | TELECT | 320 | Telect,HPGMT10FA,,,,100A Max dual 10/10 20A GMT,Fuse Panel, stud/screw, front,CVR universal, VDC bay alarm,2RU universal mount,TFA
UCRRUS32B30-48 | CEQ.14955 | Ericsson | 3852.74 | Ericsson,UCRRUS32B30-48,,,,RRUS32 B30 4x25W 5MHz,-48V,-48V,,
UCXMU03 | CEQ.15212 | Ericsson | 1426 | Ericsson,UCXMU03,,,,Baseband R503,(XMU03),,,
088-7052-0123-0000 | NEQ.15853 | TELECT | 2685 | Telect,088-7052-0123-0000,,,,Global Seismic Battery Rack,,5 Shelf, Disconnect at,24V,,
030-747-20-059 | NEQ.19047 | ALPHA TECHNOLOGIES | 811.49 | Alpha Technologies,030-747-20-059,,,,Rectifier Shelf, Cordex HP,48-2.0kW CXRF CXCI 23In 5,Mdl,,
58112700031 | NEQ.15961 | EMERSON NETWORK POWER | 625 | Emerson Network Power,58112700031,,,,Rectifier Shelf 24V,Expansion, Eight,Positions,,
581127000ZZ001 | NEQ.15580 | EMERSON NETWORK POWER | 2985.84 | Emerson Network Power,581127000ZZ001,,DISCONTINUED USE,NEQ.19322,24V Netsure 710 Power,System,,,
PTS3750-72LC | NEQ.17859 | Pacific Technical Solutions | 260 | Pacific Technical Solutions,PTS3750-72LC,,,,72 Fiber Tray with LC to LC,adapter,panel,,
588820200ZZ001 | NEQ.15312 | EMERSON NETWORK POWER | 1304 | Emerson Network Power,588820200ZZ001,,DISCONTINUED USE,NEQ.20326,NetSure -48V VRLA Battery,Stand, 23,inch,,
KRC161508/1 | CEQ.16937 | Ericsson | 2555.5 | Ericsson,KRC161508/1,,STANDARDIZATION EXCEPTION,,TRANSCEIVER/Radio 2203 B5,(LTE),Radio,Unit,,
UC2203B5DSACNOAN | CEQ.18157 | Ericsson | 6492.14 | Ericsson,UC2203B5DSACNOAN,,,,RADIO 2203 B5 DUAL-SUP AC NO,ANT,20MHZ,,
3BK16817BMAB | CEQ.14340 | Lucent Technologies | 2602.25 | Lucent,3BK16817BMAB,ATW-14-B30011-C1,,,LTE WCS Band 30 Remote Radio,Head,w/ancillaries,,
582136800ZZ001 | NEQ.15882 | EMERSON NETWORK POWER | 1777.95 | Emerson Network Power,582136800ZZ001,,DISCONTINUED USE,NEQ.19320,NetSure 502 19in 48V Power,System (ASG,Only),,
C00101223-002F | CEQ.12640 | Ericsson | 39.35 | Ericsson,C00101223-002F,,,,ASSY RA SMA-MTO RA 7/16-M,LMR240,,,
TSR4820243/1000 | CEQ.12455 | Ericsson | 21 | Ericsson,TSR4820243/1000,,,,CONNECTION CABLE/SIGNAL,CABLE,,,
UCGPSSPLITKIT | ANT.10121 | Ericsson | 306 | Ericsson,UCGPSSPLITKIT,,DISCONTINUED USE,ANT.44818,GPS Splitter Kit
ZHY60117/1 | CEQ.13732 | Ericsson | 500 | Ericsson,ZHY60117/1,,,,SAU 01,01,,,
3MU00079AC | MIC.10443 | Alcatel USA | 6545 | Alcatel-Lucent,3MU00079AC,,,,9500 MPR FLX16WS Cabinet Base,Configuration,,,
053-385-20 | NEQ.12385 | ARGUS TECHNOLOGIES | 1811.92 | Argus,053-385-20,,,,Battery Expansion Rack with 5,x 48V GNB Battery Strings,,,
BPD10436/1 | CEQ.19288 | Ericsson | 1700 | Ericsson,BPD10436/1,,,,2106 HI CAP AIR CONDITIONING U,NIT,,,
SDF107236/001 | CEQ.10723 | Ericsson | 14.83 | Ericsson,SDF107236/001,,,,COVER/COVER for Outdoor,application,,,
3HE02774AB | NEQ.17281 | Alcatel USA | 1000 | Alcatel-Lucent,3HE02774AB,,,,7705 Control Switch Module V2,(CSM) -48/+24,VDC,,
3HE03125AA | NEQ.14895 | Alcatel USA | 3600 | Alcatel-Lucent,3HE03125AA,,,,7705 SAR-8, 4-port OC3/STM1,Clear Channel Card, -48V, SFPs,sold separately,,
3HE05983ED | NEQ.19757 | Alcatel-Lucent | 7575 | Alcatel-Lucent,3HE05983ED,17US763654A00A,,,7705 SAR-8v2 equipped,withCSMv2 and 4x OC-3 8x GigE,(1OC-3 IR SMF SFP and 2 LX,SFPs1 GigE Base-T,RJ45)(non-redundant)
3HE06792EA | NEQ.19193 | Alcatel-Lucent | 275 | Alcatel-Lucent,3HE06792EA,15US611112A03A,,,Fan Module for 7705 SAR-8,Shelf V2 Ext Temp,+24VDC/-48VDC,,
ROJR211006/2 | NEQ.15284 | Ericsson | 723.09 | Ericsson,ROJR211006/2,,,,NPU3 C (Node Processor,Unit),,,
BYB41502-08 | CEQ.25840 | Ericsson | 14500 | Ericsson,BYB41502/08,,DISCONTINUED USE,CEQ.31232,Cabinet, RBS 3106 outdoor,including grouped,assets,,
PTS3503 | NEQ.20041 | Pacific Technical Solutions | 935 | Pacific Technical Solutions,PTS3503,,,,19In Rack without Fiber for,Metal,WIC,,
PTS3504 | NEQ.20042 | Pacific Technical Solutions | 1235 | Pacific Technical Solutions,PTS3504,,,,19In Rack with Fiber for,Metal,WIC,,
KRC161326/4 | CEQ.15429 | Ericsson | 2808.91 | Ericsson,KRC161326/4,,DISCONTINUED,,mRRUS12 B4, Radio Unit (DC,ext.ant),,,
RCK-22191576-40U | CEQ.28481 | CCI (Circuit Components, Inc.) | 765 | CCI,RCK-221915764-40U,Rack,Zone 4 rated,78in x 23.5in x 23.5in with,the inside rail height of,75in or about 40u
UCMRRUSB2DCEXTANT | CEQ.15432 | Ericsson | 3551.39 | Ericsson,UCmRRUSB2DCEXTANT,,,,Non-Comm mRRUS12 DC B2 Ext,Ant 10 MHz,BW,,
UCMRRUSB4DCEXTANT | CEQ.15435 | Ericsson | 3188.85 | Ericsson,UCmRRUSB4DCEXTANT,,mRRUS12 DC B4 EXT ANT 10 MHZ,BW
109747667 | CEQ.32086 | Lucent Technologies | 4083 | Lucent,109747667,,DISCONTINUED USE,CEQ.10415,SLI-9442 RRH2X40-07L Remote,Radio Head (RRH) only, for,LTE 700L w/o SFPs or,ancillary,material
581126000ZZ002 | NEQ.13355 | EMERSON NETWORK POWER | 2980.75 | Emerson Network Power,581126000ZZ002,,DISCONTINUED USE,NEQ.15212,24V 1500A Netsure 700 Power,System in 84-inch seismic,zone 4 relay,rack,
UC1AMM6PMLCAB | MIC.10767 | Ericsson | 9353 | Ericsson,UC1AMM6PMLCAB,,,,Single AMM 6p Mini-Link Cabinet
109759563 | CEQ.10415 | Lucent Technologies | 3452 | Lucent,109759563,,DISCONTINUED,,9442 RRH2 700L 40W (-48VDC),SM,,,
150037405 | NEQ.19565 | GENERAL ELECTRIC CO | 3390 | GE,150037405,,,,Battery Frame 48V, 5 Trays,w/125A breakers (ASG,Only),,
17US650334A00B | CEQ.17838 | NOKIA | 1 | Nokia,17US650334A00B,3JR80209AAAA,DISCONTINUED,,FSM4 Swap ID,1_1_2_1,,,
3JR50552AD | CEQ.17842 | NOKIA | 1 | Nokia,3JR50552AD,17US77719204,DISCONTINUED,,Site Monitoring Mod SMMi,Energy,Monitrng,,
473095A | CEQ.17557 | NOKIA | 1 | Nokia,473095A,17US65577402,DISCONTINUED,,ASIA Airscale Controller FOR,FSM4 SWAP,ONLY,,
KRD901102/3 | CEQ.15424 | Ericsson | 1200 | Ericsson,KRD901102/3,,,,RBS 6501 B2,Equipped Unit (AC,ext,ant),,
473966A | CEQ.18787 | Alcatel-Lucent | 2643 | Alcatel-Lucent,473966A,17US77719220,,,AHCA AirScale RRH 4T4R B5,160W,,,
3HE06969AA | NEQ.17230 | Alcatel USA | 2200 | Alcatel-Lucent,3HE06969AA,,7705 SAR-H (SCR) Enterprise,High Voltage,Shelf
KRD901112/3 | CEQ.14505 | Ericsson | 6118.49 | Ericsson,KRD901112/3,,,,RBS 6501 B12,Equipped Unit,(AC ext,ant),,
PE-ID1111-NEW-V5 | CEQ.20826 | NOKIA | 4600 | Nokia,PE-ID1111-NEW-V5,18US826350A09B,DISCONTINUED USE,CEQ.24406,PE-ID1111 - NEW,BAU,,,
UCWLLNOSUPMUDUS41 | CEQ.16679 | Ericsson | 3981.39 | ERICSSON,UCWLLNOSUPMUDUS41,,,,**WLL ONLY** RBS6601 No SUP,DUS41,,,
474021A | CEQ.20975 | NOKIA | 2925 | Nokia,474021A,18US835733A00A,,,ASIK 5G Airscale Common,Card,,,
848872008 | CEQ.13310 | Lucent Technologies | 10 | Lucent,848872008,,,,Blank Filler,Panel,,,
AM-X-CD-17-65-00T-RET | ANT.10024 | KMW | 871 | KMW,AM-X-CD-17-65-00T-RET,,,,Dual Band 700/800 and 1900/AWS,8 ft 65 deg XPol Antenna,,,
CCRKDP84-EIA-BK | CEQ.12037 | Custom Cabinets & Racks | 201.44 | Custom Cabinets & Racks,CCRKDP84-EIA-BK,,,,Dual Pattern Mounting Rail,Kit, (black) Includes - 2,Rails, Hardware, RU,Designation Strip and Grommet,Installed (black)
HPA-65R-BUU-H8-K | ANT.14206 | CCI (Circuit Components, Inc.) | 1845 | CCI,HPA-65R-BUU-H8-K,,,,Ultra-broadband,,700/850/PCS/AWS/WCS hex-port,(2LO+4HI) X-pol 65degree,HBW,
409078086 | CEQ.31397 | Lucent Technologies | 995 | Lucent,409078086,,DISCONTINUED,,AnPM Module for Outdoor D2U,Distributed NodeB (0.5U,H),,
KRC11870/3 | CEQ.12114 | Ericsson | 2707.5 | Ericsson,KRC11870/3,,,,RRUS 01 B5 Remote Radio Unit,(80W),850,,
KRC161609/1 | CEQ.18240 | Ericsson | 3500 | Ericsson,KRC161609/1,,,,TRANSCEIVER/Radio 2205 B46,,Radio,Unit,,
UC2205B46DSACNOAN | CEQ.18245 | Ericsson | 3561.2 | Ericsson,UC2205B46DSACNOAN,,DISCONTINUED USE,CEQ.20536,RADIO2205 B46 DUAL AC NOANT,60M,10M,,
473098A | CEQ.18419 | NOKIA | 400 | Nokia,473098A,18US826350A08A,,,AMIA AirScale,Subrack,,,
0570002-001 | NEQ.14615 | ALPHA TECHNOLOGIES | 8964 | Alpha Technologies,0570002-001,,DISCONTINUED USE,NEQ.15368,48VDC 9kW Te45V2 Outdoor,Power,System,,
102274 | NEQ.00704 | EMERSON ENERGY SYSTEMS | 10 | Emerson Energy,102274,,,,CB, HYD MAG, 1P, 5A, 80VDC,,SPDT (E-TRIP,ONLY),,
102275 | NEQ.00705 | EMERSON ENERGY SYSTEMS | 10.15 | Emerson Energy,102275,,,,CB, HYD MAG, 1P, 10A, 80VDC,,SPDT (E-TRIP,ONLY),,
102276 | NEQ.00706 | EMERSON ENERGY SYSTEMS | 10.15 | Emerson Energy,102276,,,,CB, HYD MAG, 1P, 15A, 80VDC,,SPDT (E-TRIP,ONLY),,
102277 | NEQ.00466 | Marconi | 10.15 | Emerson Network Power,102277,,,,20A Bullet Style Circuit,Breaker,,,
102281 | NEQ.00185 | Marconi | 10.15 | Emerson Network Power,102281,,,,40 AMP CIRCUIT,BREAKER,,,
102286 | NEQ.00187 | Marconi | 10.15 | Emerson Network Power,102286,,,,100 AMP CIRCUIT,BREAKER,,,
121996 | NEQ.00698 | EMERSON ENERGY SYSTEMS | 10.15 | Emerson Energy,121996,,,,CB/ HYD MAG E/1P/ 80A/ 80V,SPDT,AUX,,
123-NMT2 | ANT.10093 | 123EWIRELESS | 19 | 123eWireless,123-NMT2,,,,NMA Male Terminator 2,Watt,,,
3HE04962BA | NEQ.11923 | Alcatel USA | 1800 | Alcatel-Lucent,3HE04962BA,17US76585301,,,4-Port T3/E3 Card,(24VDC),,,
3HE05983EB | NEQ.19756 | Alcatel-Lucent | 3735 | Alcatel-Lucent,3HE05983EB,17US763652A00A,,,7705 SAR-8v2 equipped,withCSMv2 and 8x GigE (incl 2,LXSFPs and 1 GigE Base-T,RJ45)(non-redundant),
406645671 | CEQ.20978 | NOKIA | 21 | Nokia,406645671,17US777192A21A,,,Cable, WR COP-KS22641L1 6GA G,1,,,
534449 | NEQ.12476 | EMERSON ENERGY SYSTEMS | 30 | Emerson Energy,534449,,,,KIT CIRCUIT BREAKER MOUNTING,2,POLE,,
545404 | NEQ.15982 | EMERSON NETWORK POWER | 51 | Emerson Network Power,545404,,,,Kit, Lug Adapter, Two,Position, Right,Angle,,
552992 | NEQ.15985 | EMERSON NETWORK POWER | 36 | Emerson Network Power,552992,,,,Temperature Probe Kit, 10.3,Meter,,,
849122239 | CEQ.11391 | Lucent Technologies | 43.03 | Lucent,849122239,16US621668A00A,,,Optical Fiber LC-LC 25M,15m,,,
849142807 | CEQ.14962 | Lucent Technologies | 160.5 | Lucent,849142807,,,,SLI-CBL Power Conn 8GA 2 Cond,4.66ft LTE Power Cable for,2nd LTE BBU in 9412,cabinet,
C240-NMSR-5 | CEQ.10296 | Ericsson | 9.75 | Ericsson,C240-NMSR-5,,,,N Male Straight SMA Male,Right Angle, Variable,Length,,
GLC-LH-SMD | SEQ.12859 | Cisco Systems (CISCOPRO) | 22.86 | Cisco,GLC-LH-SMD,GLC-LH-SMD=,NO PURCHASE PLANS,SEQ.11847,SFP Transceiver MODULE 1000BASE-LX/LH MMF/SMF 1310nm
INH8010026/1 | ANT.12191 | Ericsson | 97.29 | Ericsson,INH8010026/1,GPS-TMG-HR-26NCM,,,GPS Ant 1575.42MHz 26dB Nf Collar Mount
RPM777567/02500 | CEQ.18818 | Ericsson | 15.65 | Ericsson,RPM777567/02500,,,,CABLE WITH,CONNECTOR/GROUNDING,CABLE,,
TFL90117/24 | CEQ.13971 | Ericsson | 57.98 | Ericsson,TFL90117/24,,,,CABLE/2x6mm2 (10AWG) 600V 90C,UL 10,m,,
3JR09124AB | CEQ.11721 | Lucent Technologies | 2160 | Lucent,3JR09124AB,,,,Metro Cell v2.0 Outdoor 250mW,16-user base license 850/1900,w/GPS,,
KRD901079/1 | CEQ.20880 | Ericsson | 12000 | Ericsson,KRD901079/1,,,,TRANSCEIVER/AIR 5331 B260,RADIO UNIT
0912002-001 | NEQ.17235 | ALPHA TECHNOLOGIES | 2541.83 | Alpha Technologies,0912002-001,,,,Battery Bay, 24V, Black,3000lb Rack, 5x Trays e/w 10x,100A,Breakers,
ALU-DNB-OD-WALM-BBU(SFP) | CEQ.31551 | Lucent Technologies | 11866.39 | Lucent,ALU-DNB-OD-wALM-BBU(SFP),ATW-11-000040-C1,STANDARDIZATION EXCEPTION,,Outdoor Distributed NodeB BBU,D2U (base-band unit),w/upgraded SFPs and w/o,RRH,
KRC161134/5 | CEQ.30483 | Ericsson | 2500 | Ericsson,KRC161134/5,,,,TRANSCEIVER/RRU, 22 0840 NO,CASCADING,,,
150029837 | NEQ.15922 | GENERAL ELECTRIC CO | 2850 | GE,150029837,,,,Battery Frame 24V, 5 Trays w/,125A,breakers,,
514432 | NEQ.00534 | Marconi | 117 | Emerson Network Power,514432,,,,GMT FUSE,ASSY.,,,
514714 | NEQ.12453 | EMERSON ENERGY SYSTEMS | 42.75 | Emerson Energy,514714,,,,KIT CKT BRKR MTG,3-POLE,,,
522786 | NEQ.00481 | EMERSON NETWORK POWER | 14.25 | Emerson Network Power,522786,,,,BUSBAR LUG ADPTRZ 1/4 X 1.25,X,3.75,,
53K502-K00N5 | ANT.16936 | Rosenberger Site Solutions | 12.68 | Rosenberger Site Solutions,53K502-K00N5,,,,Bulkhead connector ADAPTOR,JACK for the Ericsson cabinet,GPS,kit,
545405 | NEQ.15152 | EMERSON NETWORK POWER | 42 | Emerson Network Power,545405,,,,Busbar Kit, Rt Angle,Lug,,,
550224 | NEQ.15980 | EMERSON NETWORK POWER | 90.75 | Emerson Network Power,550224,,,,Assembly, GMT Fuse Module, 6,Positions,,,
ABDF-DF | ANT.14701 | Meca Electronics Inc | 67 | Meca,ABDF-DF,,,,7/16 DIN Female to 7/16 DIN,Female Bulkhead,Adapter,,
AXA-NMNF90 | ANT.16882 | L-com | 8.39 | L-com Global Connectivity,AXA-NMNF90,,,,Coaxial Adapter, Compact Type,ADPN N-Male/Female Right,Angle,,
CC848756924 | NEQ.12746 | Tyco/Amp | 22 | Lineage Power (Tyco),CC848756924,,,,3 Pole Adapter Bus Bar for 3,Pole,Breakers,,
F002S0551BLU-0360 | CEQ.13913 | Ericsson | 56.33 | Ericsson,F002S0551BLU-0360,,,,BLU-SM 2X4.5,LCD/LCD,,,
F002S0551BLU-2000 | CEQ.10521 | Ericsson | 22.23 | Ericsson,F002S0551BLU-2000,,,,CONNECTION CABLE/PATCHCORD,2G657,LCD-LCD,,
RFD-1671-2 | ANT.12165 | RF INDUSTRIES | 79.98 | RF Industries,RFD-1671-2,CS60-5612-04,,,Adapter 7-16 DIN,M/NF,,,
RPM5132371/00300 | CEQ.17738 | Ericsson | 155.82 | Ericsson,RPM5132371/00300,,,,CABLE WITH CONNECTOR/USB to,EC-bus,Cable,,
RPM777279/00650 | CEQ.14829 | Ericsson | 61 | Ericsson,RPM777279/00650,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM777291/02000 | SEQ.15997 | Ericsson | 101.98 | Ericsson,RPM777291/02000,,,,CABLE WITH CONNECTOR/EARTH,CABLE (for,BEN#),,
RPM777417/01000 | CEQ.18330 | Ericsson | 218 | Ericsson,RPM777417/01000,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM777523/15000 | CEQ.18510 | Ericsson | 65 | Ericsson,RPM777523/15000,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
RPM777528/10000 | CEQ.18817 | Ericsson | 96.88 | Ericsson,RPM777528/10000,,,,CABLE WITH CONNECTOR/POWER,CABLE,,,
KRC161414/1 | CEQ.16343 | Ericsson | 2500 | Ericsson,KRC161414/1,,STANDARDIZATION NON-APPROVED,,TRANSCEIVER/RRUS 32 B2,Radio,Unit,,,
4000006328 | CEQ.20840 | PURCELL SYSTEMS | 2150 | Purcell,4000006328,,,,ASSY, DOOR, 24V, HX, 12UFLEX,,PIH,,SLMLATCH,,
FP4-11000002131RU | CEQ.14376 | TE Connectivity Networks | 7221.5 | TE Connectivity Networks,FP4-11000002131RU,,,,PRISM QUAD-BAND REMOTE,CHASSIS 2 1310 SFP HMFOC,DIV/MIMO,ALM,
150021841 | NEQ.15267 | LINEAGE POWER | 5725 | Lineage Power,150021841,,,,1000A -48V Infinity M (dual,voltage) Power Plant w/(5),universal power shelves,,Mounted in 23in 7ft frame,(ASG Only)
109793679 | CEQ.16673 | NOKIA | 437.33 | Nokia,109793679,,DISCONTINUED USE,CEQ.18596,SLI-Mod Alarm Enhanced Indoor,EAMIB,,,
486800127 | CEQ.22254 | Marconi | 175 | Emerson Network Power,486800127,,DC-DC CONVERTER MODULE 24V TO
2000003139/ | CEQ.14400 | PURCELL SYSTEMS | 242.89 | Purcell,2000003139/,,,,KIT FLXWS 4H PLINTH ,2-3114,,,
KFE1011162/3 | CEQ.11670 | Ericsson | 262.63 | Ericsson,KFE1011162/3,,,,FILTER UNIT/PFU 02 02, Power,Filter,Unit,,
UC6202BB5216 | CEQ.17571 | Ericsson | 8354.58 | Ericsson,UC6202BB5216,,DISCONTINUED USE,CEQ.20726,RBS6202 DAS LTE BB5216 NO,RU,,,
0570043-001 | NEQ.15431 | ALPHA TECHNOLOGIES | 8421 | Alpha Technologies,0570043-001,,,,TE45V3 Battery Enclosure, 48V,5x battery trays, 100A,breakers, fan cooled, 72in,H,
849143995 | CEQ.10886 | Lucent Technologies | 227 | Lucent,849143995,,,,SL-KIT GPS ANT Low Gain,Enhance,Filter,,
PE-ID1111-NEW-V6 | CEQ.24406 | NOKIA | 4340.14 | Nokia,PE-ID1111-NEW-V6,18US826350A09C,,,FSM4 LTE ID NSB w/o Fronthaul,SFPs,,,
ME-3400E-24TS-M-ATT | SEQ.16249 | Cisco Systems (CISCOPRO) | 1118 | Cisco,ME-3400E-24TS-M-ATT,,DISCONTINUED,,ME3400E Ethernet Access,Switch Bundle (includes,ME3400x Series IOS Metro Base,TAR/Blank Covers
ME34X-PWR-DC | SEQ.10536 | Cisco Systems (CISCOPRO) | 480 | Cisco,ME34X-PWR-DC,ME34X-PWR-DC-R,DISCONTINUED,,ME3400E DC Power Supply,Unit,,,
109776161 | CEQ.12609 | Lucent Technologies | 5062.5 | Lucent,109776161,,,,SLI-9442 AWS RRH2x40 with,RDEM AISG,2.0,,
301000667 | CEQ.31206 | Lucent Technologies | 5331.04 | Lucent,301000667,,,,60W RRH850 OD (Remote Radio,Head/Outdoor) -48VDC w/no,SFP,,
F2014000 | NEQ.19326 | EMERSON NETWORK POWER | 10520 | Emerson Network Power,F2014000,,,,Mercury Small Cell Horizontal,Cabinet w Battery,Base,,
UC2205B46ACNOANT | CEQ.18241 | Ericsson | 3564.63 | Ericsson,UC2205B46ACNOANT,,DISCONTINUED USE,CEQ.20533,RADIO 2205 AC B46 NO ANT,60MHZ,10MHZ,,
UCRRUS12B5-48 | CEQ.13678 | Ericsson | 2656.54 | Ericsson,UCRRUS12B5-48,,,,RRUS12 B5 850, 10MHZ BW,,2x60W,-48V,,
BSA-M65-19R010-02-K | ANT.12772 | CCI (Circuit Components, Inc.) | 7650 | CCI,BSA-M65-19R010-02-K,,,,Multi-Band Bi-Sector Array,Antenna, w/ RET actuator and,mounting bracket, 698-894 MHz,and 1710-2170,MHz
KRY901345/2 | CEQ.18257 | Ericsson | 278.98 | Ericsson,KRY901345/2,,,,ACCESSORIES/SUPPORT 6502 SINGLE DC FAN SUP
UC2205B46DCNOANT | CEQ.18244 | Ericsson | 3564.63 | Ericsson,UC2205B46DCNOANT,,DISCONTINUED USE,CEQ.20535,RADIO 2205 DC B46 NO ANT,60MHZ,10MHZ,,
7629728-0006 | CEQ.11219 | ANDREW CORPORATION | 18999 | Andrew,7629728-0006,,DISCONTINUED USE,CEQ.19225,ION-M7P/85P/17P/19P Remote, 2 Ant Port
UC6601MUDUS41D | CEQ.16693 | Ericsson | 6123.2 | ERICSSON,UC6601MUDUS41D,,DISCONTINUED,,RBS6601 INDOOR,DUS41,,,
581126000ZZ032 | NEQ.15212 | EMERSON NETWORK POWER | 3110.25 | Emerson Network Power,581126000ZZ032,,,,24V 1500A Netsure 700 Power,System in 84-inch seismic,zone 4 relay,rack,
CC109160438 | NEQ.14570 | LINEAGE POWER | 2000 | Lineage Power,CC109160438,,DISCONTINUED USE,NEQ.16521,48V Power Plant,,NES-23-AC2-PS4,,,
HX-C85P19L70A17-DC-A | CEQ.11639 | MobileAccess Networks | 7030.5 | MobileAccess Networks,HX-C85P19L70A17-DC-A,,,,HX Quad Service Remote EndIndoor Unit, Cell / PCS / AWS/ 700 MHz LTE Solution,supports remote DC power /SMF / MMF (Core)
KRC11846/2 | CEQ.31671 | Ericsson | 3150 | Ericsson,KRC11846/2,,,,RRUW (850), 02 B5 Remote,Radio,Unit,,
7641838 | CEQ.11981 | ANDREW CORPORATION | 1852 | Andrew,7641838,,DISCONTINUED USE,CEQ.14799,Rack 19-inch 38HU with,Perforated,Doors,,
UC2203B2DSACNOAN | CEQ.18155 | Ericsson | 6492.14 | Ericsson,UC2203B2DSACNOAN,,,,RADIO 2203 B2 DUAL-SUP AC NO,ANT,20MHZ,,
582136700ZZ040 | NEQ.19318 | EMERSON NETWORK POWER | 894.11 | Emerson Network Power,582136700ZZ040,,,,NetSure 502 Integrated Power,System 48V 19In 2RU,Indoor,,
MRU | CEQ.16472 | Corning Cable | 2408 | Corning,MRU,,,,MRU chassis,only,,,
MRU-E-ASM-AC-B | CEQ.16978 | Corning Cable | 4343 | Corning,MRU-E-ASM-AC-B,MRU-AC - AWSe supported,assembly with OPTIM, FAM, and,AC PSM,modules
MRU-FAM | CEQ.16469 | Corning Cable | 215 | Corning,MRU-FAM,,,,MRU Fan assembly,module,,,
MRU-OPTM-P | CEQ.16468 | Corning Cable | 1204 | Corning,MRU-OPTM-P,,,,MRU Optical Interface,Module,,,
MRU-PSM-AC | CEQ.16470 | Corning Cable | 516 | Corning,MRU-PSM-AC,,,,MRU power supply module,supporting AC,power,,
2000-C85P19L70-A-TC | CEQ.10719 | MobileAccess Networks | 3508.8 | Corning,2000-C85P19L70-A-TC,,,,MA2000 TSX Tri-serviceCELL/PCS and 700 MHzLTE (Core)
3JR80232AAAA | CEQ.18937 | NOKIA | 1 | Nokia,3JR80232AAAA,17US77719218,DISCONTINUED,,AMIA AirScale Subrack for,FSM4,SWAP,,
588820400200 | NEQ.20326 | VERTIV | 1304 | Vertiv,588820400200,,,,Batt Rack 48V 4Post 5Tier w,200A,CB,,
140976 | NEQ.19408 | EMERSON NETWORK POWER | 240 | Emerson Network Power,140976,,,,LCC 7 Fan Config/Final 48V,Fusion,,,
3JR53349AB | CEQ.16743 | NOKIA | 2275 | Nokia,3JR53349AB,17US655765A00A,NO PURCHASE PLANS,CEQ.19790,B25 RRH4x30, Spare Supports PIM Cancellation
UC2203B2ACNOANT | CEQ.17238 | Ericsson | 3564.63 | Ericsson,UC2203B2ACNOANT,,,,RADIO 2203 AC B2 NO ANT,20MHZ,10MHZ,,
12545-300-1 | NEQ.16094 | TELECT | 462 | Telect,12545-300-1,,,,Seismic Rack UEF Base Telco Gray 7FT x 19IN x 17.75IN with ISO Pad and Concrete Anchors included
F1011032 | NEQ.19932 | VERTIV | 1000 | Vertiv,F1011032,,,,Outdoor Power,Cabinet,,,
588820200ZZ002 | NEQ.15979 | EMERSON NETWORK POWER | 1180 | Emerson Network Power,588820200ZZ002,,DISCONTINUED USE,NEQ.20326,Battery Rack, -48V, Five Trays, 100A CB per String
F2016064 | NEQ.19918 | VERTIV | 8733 | Vertiv,F2016064,,,,NetSure 512 Configured 48V,Outdoor Power System, w NCU,Controller,Cabinet,
UCRADIO4478B14-48 | CEQ.17995 | Ericsson | 5029.66 | Ericsson,UCRADIO4478B14-48,,DISCONTINUED USE,CEQ.44932,Radio 4478 B14 4X40W,10MHZ-48V
09801-705 | CEQ.12495 | ISCO International | 7200 | ISCO International,09801-705,,,,Proteus1 Lower 700MHz Low,Gain,Gain,,
KRC161583/1 | CEQ.16344 | Ericsson | 5280.1 | Ericsson,KRC161583/1,,STANDARDIZATION NON-APPROVED,,TRANSCEIVER/RRUS 32 B66A,,Radio,Unit,,
L4-HMDM-8-SGW-D | CEQ.15736 | CommScope | 49.31 | CommScope,L4-HMDM-8-SGW-D,,,,LDF4 4.3-10 straight,male/7-16 DIN straight male,with SureGuard,weatherproofing,8ft
UCRRUS32B66A-48 | CEQ.16341 | Ericsson | 4063.68 | Ericsson,UCRRUS32B66A-48,,,,RRUS32 B66A 4x40W, 5MHz,-48V,,,
150032370 | NEQ.16522 | GENERAL ELECTRIC CO | 1994 | GE,150032370,,,,NES48-19-AC5-PS3-DC1E-LVBD,Infinity S 150 Power Plant,(ASG,Only),
UC2203B5ACNOANT | CEQ.17263 | Ericsson | 3582.05 | Ericsson,UC2203B5ACNOANT,,DISCONTINUED USE,CEQ.45072,RADIO 2203 AC B5 NO ANT 20MHZ
KRC161609/2 | CEQ.20528 | Ericsson | 2555.5 | Ericsson,KRC161609/2,,,,TRANSCEIVER/RADIO 2205 B46 FULL BAND,RAD
UC2205B46ACNOANTA | CEQ.20533 | Ericsson | 3582.05 | Ericsson,UC2205B46ACNOANTA,,,,RADIO 2205 AC B46 NO ANT,60MHZ,,,
506918 | NEQ.00696 | ELTEK ENERGY | 6030 | Eltek Energy,506918,,DISCONTINUED,,AEON DC Plant Cingular,Central Region Std, 24V/2250A,48V/280A,CAPABLE,
KRC11847/2 | CEQ.31904 | Ericsson | 3825 | Ericsson,KRC11847/2,,,,RRUW, (1900) 02 B2 Remote,Radio,Unit,,
NTM1010429/1 | CEQ.31849 | Ericsson | 124.32 | Ericsson,NTM1010429/1,,,,SET OF MATERIALS/WALL-MOUNTED,SUPPORT,,,
NTM20220/1 | CEQ.32057 | Ericsson | 36.66 | Ericsson,NTM20220/1,,,,Mast Mounting,Brackets,,,
RDH10245/1 | CEQ.10389 | Ericsson | 29 | Ericsson,RDH10245/1,,DISCONTINUED USE,CEQ.32058,SFPFESMF15km,,,,
RPM2532895/5000 | CEQ.31860 | Ericsson | 33 | Ericsson,RPM2532895/5000,,DISCONTINUED USE,CEQ.12973,2F LCD-LCD SM RRUW01 Cascade,5M,,,
RPM919665/02400 | CEQ.10387 | Ericsson | 11.73 | Ericsson,RPM919665/02400,,,,RRUW Cross-connecting and,co-sitingcable,,,
UCRRUW1960A | CEQ.10365 | Ericsson | 3245 | Ericsson,UCRRUW1960A,,DISCONTINUED USE,CEQ.31903,Remote Radio Unit WCDMA, 1960,-48V,Switch) NO SPARES,Frame,
UC2242RDSB2A | CEQ.17371 | Ericsson | 8924.59 | Ericsson,UC2242RDSB2A,,DISCONTINUED,NO REPLACEMENT,RDS IRU 2242 + 8xDOT B2 10MHz BW
301000717 | CEQ.31207 | Lucent Technologies | 5331.04 | Lucent,301000717,,,,60W RRH1900 OD (Remote Radio,Head/Outdoor) -48VDC w/no,SFP,,
KRC161752/1 | CEQ.21236 | Ericsson | 8000 | Ericsson,KRC161752/1,,,,TRANSCEIVER/RADIO 4449 B5 B12A,RADIO UNIT
F1010488 | NEQ.15849 | EMERSON NETWORK POWER | 310 | Emerson Network Power,F1010488,,,,Mini-PNC Pole Mounting,Kit,,,
FWP-00000HUII | CEQ.10244 | ADC Telecommunications | 3850 | ADC,FWP-00000HUII,,,,Spectrum PRISM Host Unit,,SeRF II, CPU II, PS,,FAN,,
FWP-0000SERFII | CEQ.10609 | ADC Telecommunications | 1375 | ADC,FWP-0000SERFII,,,,SeRF (Serial RF) Module,,Host/Remote,,,
FWP-000HUSYSIII | CEQ.14622 | TE Connectivity Networks | 467.5 | TE Connectivity Networks,FWP-000HUSYSIII,,,,System III,Board,,,
FWP-CHASSISHUII | CEQ.10607 | ADC Telecommunications | 2947 | ADC,FWP-CHASSISHUII,,,,Spectrum PRISM Host Unit,Chassis,,,
KRC11866/2 | CEQ.11665 | Ericsson | 1350 | Ericsson,KRC11866/2,,,,TRANSCEIVER/RUS 01 B2, Radio,Unit (Spares,Only),,
UCRUS01B2MACRO | CEQ.14633 | Ericsson | 1350 | Ericsson,UCRUS01B2MACRO,,,,RUS01 B2, 5MHz BW, 1x80W,MACRO,,,
473112A | CEQ.17600 | NOKIA | 5000 | Nokia,473112A,AQ-1016-00120-00,DISCONTINUED USE,,FRBF Flexi RRH 4T4R 760 Band,14 160W Spare Radio,Only,,
474036A | CEQ.18091 | NOKIA | 2200 | Nokia,474036A,17US777192A01A,,,Remote Radio Head, B25 RRH,(UL) 1850-1915 MHZ, (DL),1930-1995,MHz,
3HE00028CA | NEQ.11786 | Alcatel USA | 199 | Alcatel-Lucent,3HE00028CA,ATW13DM0127A1,,,1-port 1000BASE-LX Small Form,Pluggable SFP Optical,Connector, SMF 10km 1310nm LC,DDM RoHS 6/6, Ext Temp,40/85C
3HE02776AB | NEQ.13965 | Alcatel USA | 1300 | Alcatel-Lucent,3HE02776AB,17US648248A00A,,,7705 SAR-8, 8-Port GE/FE,Ethernet Card V2,-48VDC,,
3HE02776BA | NEQ.11564 | Alcatel USA | 1300 | Alcatel-Lucent,3HE02776BA,10US109160A1,,,8-Port GE/FE Ethernet Card V2,(24VDC),,,
3922773700 | CEQ.24536 | Delta Communications Group | 872 | Delta,3922773700,,,,Mounting Bracket (assembles,RRH + Delta 2kW) and all,associated,hardware,
474050A | CEQ.18092 | NOKIA | 2200 | Nokia,474050A,17US777192A02A,,,Remote Radio Head, B66 RRH,(UL) 1710-1780 MHz, (DL),2110-2200,MHz,
MHSA80CAB | NEQ.14245 | Marconi | 750 | Marconi,MHSA80CAB,,DISCONTINUED,,SHELF CONTROLLER,SHELF,,,
582136800ZZ071 | NEQ.19321 | EMERSON NETWORK POWER | 1809.07 | Emerson Network Power,582136800ZZ071,,DISCONTINUED USE,NEQ.19919,NetSure 502 Integrated Power,System 48V 23In 6RU,Indoor,,
A90-FTD24P-LA22 | NEQ.18736 | WESTELL | 535 | Westell,A90-FTD24P-LA22,,,,VirtualEdge Fiber Termination,Drawer, 24 LC/APC,Couplers,Two 12 Fiber,LC/APC,
UC6601MUBB5216 | CEQ.16614 | Ericsson | 7238.46 | Ericsson,UC6601MUBB5216,,STANDARDIZATION EXCEPTION,,Non-Comm RBS6601 Indoor,Baseband 5216,,50PRB,,
071-9000-0016 | NEQ.19751 | TELECT | 1585 | Telect,071-9000-0016,,,,CRAN 19In Passive Rack,Configuration (Central,Office),,
UCRRUS32B2-48 | CEQ.16340 | Ericsson | 4063.68 | Ericsson,UCRRUS32B2-48,,,,RRUS32 B2 4x40W, 5MHz,-48V,,,
030-840-20-040 | NEQ.11065 | ARGUS TECHNOLOGIES | 418.45 | Argus,030-840-20-040,,,,Cordex 19in Shelf 4xCXDF,48-24/2kW Positions, Dual,I/P,,
3JR53349AA | CEQ.15186 | Lucent Technologies | 5650 | Lucent,3JR53349AA,,STANDARDIZATION PENDING,,Remote Radio Head RRH4x30,4T4R-B25,Band,,
301000691 | CEQ.31083 | Lucent Technologies | 4033.15 | Lucent,301000691,,,,RRH1900 40W OD (Remote Radio,Head/Outdoor) -48VDC w/no,SFP,,
BDE20285-2 | CEQ.26135 | Ericsson | 3171.35 | Ericsson,BDE20285/2,,,,RBS 3303 Micro Cabinet,including grouped,assets,,
2000001512 | CEQ.13832 | PURCELL SYSTEMS | 2588.99 | Purcell,2000001512,FLX12WS,STANDARDIZATION NON-APPROVED,USE CEQ.10759,-48V DC Outdoor Cabinet w/HEX,for ancillary equipment only,NO HEATER, 12RU outdoor,enclosure,
CC109161956 | NEQ.14319 | LINEAGE POWER | 1465.63 | Lineage Power,CC109161956,,,,Infinity-D Stand Alone,Converter Plant, 24V input,-48V,output,
301000642 | CEQ.31084 | Lucent Technologies | 4033.15 | Lucent,301000642,,,,RRH850 40W OD (Remote Radio,Head/Outdoor) -48VDC w/no,SFP,,
109778712 | CEQ.11127 | Lucent Technologies | 4033.15 | Lucent,109778712,,,,RRH1900Mhz 40W (locked) UMTS,OD (Remote Radio,Head/Outdoor) -48VDC w/no,SFP,
301045506 | CEQ.10731 | Lucent Technologies | 1584.88 | Lucent,301045506,,,,SL-KIT Upg RHEX Macrocell 9391,UMTS,,,
474020A | CEQ.20976 | NOKIA | 4160 | Nokia,474020A,18US835733A01A,,,ABIL 5G Airscale Common,Card,,,
KRC161286/1 | CEQ.13056 | Ericsson | 1950 | Ericsson,KRC161286/1,,,,RRUS A2 B25, Radio,Unit,,,
CC109148714 | NEQ.13352 | LINEAGE POWER | 1325 | Lineage Power,CC109148714,H2007001,DISCONTINUED USE,NEQ.14319,Infinity-D Stand Alone,Converter Plant, 24V input,-48V output,Bay), 7ft 2 load 6,bullet-style panels,
G3L-1929-160 | CEQ.28183 | POWERWAVE TECHNOLOGIES | 3378 | Powerwave,G3L-1929-160,,DISCONTINUED,,MCPA 1900, 160W, EVEREST 1900,(module),,,
UC2203B5DCNOANT | CEQ.17264 | Ericsson | 3306.7 | Ericsson,UC2203B5DCNOANT,,,,RADIO 2203 DC B5 NO ANT,20MHZ,10MHZ,,
300972932 | CEQ.31121 | Lucent Technologies | 719.9 | Lucent,300972932,,DISCONTINUED,,Outdoor BBU Floor,Stand,,,
PTS3702-1515 | NEQ.17861 | Pacific Technical Solutions | 1230 | Pacific Technical Solutions,PTS3702-1515,,,,Communications Bay with 15/15,fuse,panel,,
017-4011-0123-0169 | NEQ.17870 | TELECT | 1690 | Telect,017-4011-0123-0169,,DISCONTINUED USE,NEQ.17862,Facilities Interface Frame,,Hybrid Frame w 15/15 Fuse,Panel,,
HPGMT15 | NEQ.13687 | TELECT | 390 | Telect,HPGMT15,,,,Fuse Panel, 100A Max Dual,15/15 20A GMT 1RU Universal,Mount,,
RRH-B66-ANC | CEQ.16590 | Lucent Technologies | 2625 | Lucent,RRH-B66-ANC,16US615468A00A,STANDARDIZATION PENDING,,Remote Radio Head B66a AWS1-3,RRH4x45 with ancillaries FFA,ONLY,,
300763950 | CEQ.29875 | Lucent Technologies | 3682.25 | Lucent,300763950,,,,DSHE P3,Full Feature Digital Shelf P3,,,
1M830DNA559478 | NEQ.20766 | VERTIV | 702 | Vertiv,1M830DNA559478,,,,NCU Controller, 2Ux2U, 559478,Config,,,
KRC118056/1 | CEQ.13156 | Ericsson | 5000 | Ericsson,KRC118056/1,,,,AIR 21 B4A B12P-B8P, Radio,Unit,(2,0m),,
PE-ID1111-NEW-V4 | CEQ.20407 | NOKIA | 4600 | Nokia,PE-ID1111-NEW-V4,18US826350A09A,DISCONTINUED USE,CEQ.20826,FSM4 BAU Indoor w/Ancillary,ID,,1_1_1,,
UC6202BB5216ADEXP | CEQ.17572 | Ericsson | 6015.53 | Ericsson,UC6202BB5216ADEXP,,,,RBS 6202 BB5216 EXP,W/ADAPTER,50PRB,,
KRC161298/1 | CEQ.13059 | Ericsson | 2150 | Ericsson,KRC161298/1,,STANDARDIZATION EXCEPTION,,RUS 02 B2, Radio Unit,(1900),,,
KRC161254/2 | CEQ.11617 | Ericsson | 2321.23 | Ericsson,KRC161254/2,,,,RRUS 11 B4, Radio,Unit,,,
3JR80223AAAA | CEQ.18351 | NOKIA | 5000 | Nokia,3JR80223AAAA,17US77064401,,,GLI-ATT B14 PUBLIC SAFETY RRH,with installation,material,,
301066478 | CEQ.11388 | Lucent Technologies | 104.25 | Lucent,301066478,,,,SL GAS SURGE PROT N,-N,,,
150860 | NEQ.20063 | VERTIV | 175 | Vertiv,150860,,,,400A BREAKER, CB HYD MAG E-M,1P(4) SPDT AUX,400A,,
3JR80378AA | CEQ.18480 | Alcatel-Lucent | 98.04 | Alcatel-Lucent,3JR80378AA,17US777380A00A,,,Assembly Cable, ASMI SYNC,HDMI,,,
473472A | NEQ.20749 | NOKIA | 236.85 | Nokia,473472A,19US806080A17A,,,5G mmWave Backhaul SFP,473472A FOTB Optical SFP+,10GBase-LR 1310nm SM for ASIK,Card,
474938A | CEQ.21285 | NOKIA | 89 | Nokia,474938A,18US806080A54A,,,AOQA AirScale Optical QSFP,Mechanical Adapter (QSFP+ to,SFP+),,
848619201 | CEQ.11389 | Lucent Technologies | 51 | Lucent,848619201,16US622589A00B,,,CA ASSY-DIG CONNZD,FRAME,,,
3JR80241AAAB | CEQ.21288 | NOKIA | 2913.62 | Nokia,3JR80241AAAB,18US807974A04B,,,AirScale B25 Micro RRH with,Ancillary Kit AC Power,GLI-ATT ARSCL AC AHFB MCRORRH,W/ANC,2SFP
3JR80242AAAA | CEQ.20196 | NOKIA | 2527 | Nokia,3JR80242AAAA,18US807974A03A,INVALID SETUP USE,CEQ.45940,AirScale Micro RRH B66 DC Power with Ancillary Kit
849110507 | CEQ.14371 | Lucent Technologies | 82.7 | Lucent,849110507,,,,CA Assy-BB Cabinet Alarms Alm,Connzd,22,,
KDV127621/11 | CEQ.20413 | Ericsson | 12000 | Ericsson,KDV127621/11,,,,COMBINED UNIT/BASEBAND 6630 WITH FAN (SECURITY LOCKED)
AHFB-COM-AC-B25 | CEQ.18500 | Alcatel-Lucent | 2827 | Alcatel-Lucent,AHFB-COM-AC-B25,17US761698C00C,DISCONTINUED USE,CEQ.20198,AirScale Micro RRH Band 25,with Ancillary Kit and AC,Power Converter,Kit,
2000004489 | CEQ.18640 | PURCELL SYSTEMS | 2174 | Purcell,2000004489,,,,KIT, UPGRADE NOKIA LTE V1,THERMAL,ATT,,
1C24481500 | NEQ.13353 | EMERSON NETWORK POWER | 330 | Emerson Network Power,1C24481500,,,,DC-DC Converter, 24V input,-48V,output,,
1R242500 | NEQ.13193 | EMERSON ENERGY SYSTEMS | 242 | Emerson Energy,R24-2500,,,,Rectifier 24VDC 2500W
582136800ZZ076 | NEQ.19919 | VERTIV | 1908.07 | Vertiv,582136800ZZ076,,,,NetSure 502 Integrated,PowerSystem 48V 23In 6RU,Indoor,,
3JR80239AAAA | CEQ.20142 | NOKIA | 2527 | Nokia,3JR80239AAAA,18US807974A01A,,,Airscale Micro RRH Band 25,Kit With Ancillary DC,AHFB,,
A901-12C-FT-D | NEQ.16126 | Cisco Systems (CISCOPRO) | 1852.2 | Cisco,A901-12C-FT-D,,DISCONTINUED USE,NEQ.20701,ASR 901 Series Aggregation Services Router Chassis with Ethernet and TDM interfaces and DC Power
582136800ZZ031 | NEQ.14749 | EMERSON NETWORK POWER | 1539 | Emerson Network Power,582136800ZZ031,,,,NetSure 502 48V Integrated,Power,System,,
F1010109 | CEQ.10734 | EMERSON NETWORK POWER | 7788 | Emerson Network Power,F1010109,,,,LTE Power and Auxiliary,Equipment Cabinet, -48V,,,
KRC161349/2 | CEQ.13050 | Ericsson | 3950 | Ericsson,KRC161349/2,,SURPLUS INVENTORY,,RRUS 12 B4, Radio Unit (AWS)
UCRADIO4426B66-48 | CEQ.20159 | Ericsson | 4681.3 | Ericsson,UCRADIO4426B66-48,,DISCONTINUED USE,CEQ.44929,RADIO 4426 B66 4X60W, 10MHZ-48V
OD-5G-NSB-1G-SFP | CEQ.44618 | NOKIA | 11780 | Nokia,OD-5G-NSB-1G-SFP,SCM USE ONLY,DISCONTINUED USE,CEQ.44765,Outdoor 5G FSM4 (ASIK, ABIL,,FYGM, site,kit) 1G SFP for Sub6 Backhaul
PTLC-ATS-3S-12200-CL_ATT | NEQ.20110 | Intersect | 3578 | Intersect,PTLC-ATS-3S-12200-CL_ATT,,,,240/120, 200A, 3-source PTLC,integrates ASCO Series 300,ATS, Strikesorb, 30-pos SqD,NQ loadcntr, GFI receptacle,,ICGC CamLok conn, NEMA 3R encl
KRC161769/3 | CEQ.24387 | Ericsson | 3800 | Ericsson,KRC161769/3,,,,TRANSCEIVER/RADIO 4415 B30,RADIO UNIT
BKV301216/156 | CEQ.14840 | Ericsson | 258.5 | Ericsson,BKV301216/156,,,,FAN/Axial fan 48 VDC 52 W,171.5 x,50.,,
ID-5G-NSB-1G-SFP | CEQ.44617 | NOKIA | 12130 | Nokia,ID-5G-NSB-1G-SFP,SCM USE ONLY,DISCONTINUED USE,CEQ.44765,Indoor 5G FSM4 NSB (AMIA,,ASIK, ABIL, ancillary site,kit) 1G SFP for Sub 6 Backhaul
ID-5GR-5G-AMIA-1G-SFP | CEQ.44616 | NOKIA | 9585 | Nokia,ID-5GR-5G-AMIA-1G-SFP,SCM USE ONLY,DISCONTINUED USE,CEQ.44767,Indoor 5G Growth,(ASIK,ABIL,ancillary site,kit) to 5G,AMIA 1G SFP for Sub 6 Backhaul
053-996-20 | NEQ.13228 | ARGUS TECHNOLOGIES | 2004.16 | Argus,053-996-20,DISCONTINUED USE,NEQ.13289,CXPS 24 to -48VDC Converter,System, CXDF 19in Converter,shelf e/w CXCI 300A UDC
058-257-20 | NEQ.13416 | ARGUS TECHNOLOGIES | 1993.44 | Argus,058-257-20,,,,Cordex 48V 1.8kw Power Shelf,with DCP03, 23,in,,
UC6601RDSDUW11EXP | CEQ.16336 | Ericsson | 5815.7 | Ericsson,UC6601RDSDUW11EXP,,,,RBS6601 RDS DUW11 EXP 64CE No,IRU/DOT,,,
OD-5GR-4G-AMIA-1G-SFP | CEQ.44615 | NOKIA | 10858 | Nokia,OD-5GR-4G-AMIA-1G-SFP,SCM USE ONLY,DISCONTINUED USE,CEQ.44767,Outdoor 5G Growth,(ASIK,ABIL,ancillary site,kit) to 4G,AMIA 1G SFP for Sub6 Backhaul
3JR52703AA | CEQ.13101 | Lucent Technologies | 8750 | Lucent,3JR52703AA,,,,PCS Active Antenna,8FT,,,
3JR80243AAAA | CEQ.20242 | NOKIA | 2929.72 | Nokia,3JR80243AAAA,18US826350A02B,,,B5 RRH w 3SFP GLI-ATT AHCA,With,Ancillary,,
1R482000 | NEQ.13641 | EMERSON NETWORK POWER | 270 | Emerson Network Power,1R482000,,DISCONTINUED USE,NEQ.15820,NetSure 502 -48VDC 2000W,Rectifier,,,
1R482000E | NEQ.15820 | EMERSON NETWORK POWER | 199.8 | Emerson Network Power,1R482000E,,,,eSure 502 -48VDC 2000W,Rectifier,,,
474146A | CEQ.18659 | NOKIA | 1790 | Nokia,474146A,18US807974A10A,AZRA AirScale Micro 2T LAA,1W
FP4-11000002111RU | CEQ.11426 | ADC Telecommunications | 6820 | ADC,FP4-11000002111RU,,DISCONTINUED,,Prism Remote Chassis,,Quad-Band,,,
UCRDSFUP1 | NEQ.19553 | Ericsson | 297.91 | Ericsson,UCRDSFUP1,,,,Westell Fuse,Panel,,,
KRC11874/1 | CEQ.14439 | Ericsson | 100 | Ericsson,KRC11874/1,,,,RRUS 01 B2 Remote Radio Unit,(80W),1900,,
582137100ZZ028 | NEQ.20193 | VERTIV | 3320.75 | Vertiv,582137100ZZ028,,,,23In Version of the,Netsure-5100 (outdoor 512,cabinet), 39 -48v positions,and 12-24v,positions
474510A | CEQ.20381 | NOKIA | 1790 | Nokia,474510A,18US807974A13A,,,AZRB AirScale Micro 2T LAA,UNII-1/2/3,1W,,
LTE-AWS-4XRX-RDEM-RRH | CEQ.12610 | Lucent Technologies | 5862.93 | Lucent,LTE-AWS-4XRX-RDEM-RRH,ATW-12-B30038-E1,STANDARDIZATION NON-APPROVED,,LTE AWS 4XRX RDEM RRH Remote,Radio Head,2x40W,,
PMT200-82015 | MIC.03899 | ANDREW CORPORATION | 2203 | Andrew,PMT200-82015,AUTOMATIC DEHYDRATOR,FOR VOL UP TO 60 CUBIC FT
030-736-20-040 | NEQ.12379 | ARGUS TECHNOLOGIES | 224 | Argus,030-736-20-040,,,,Cordex 24-3.1kw Shelf,,,,
SBNHH-1D45A | ANT.14948 | CommScope | 2360 | CommScope,SBNHH-1D45A,,,,4ft Ultra-broadband,(700/850/PCS/AWS/WCS),Antenna, Hex-port (2LO+4HI),Xpol 45deg HBW, mounting and,actuators
3JR80240AAAB | CEQ.21287 | NOKIA | 2913.62 | Nokia,3JR80240AAAB,18US807974A05B,,,AirScale B66 Micro RRH with,Ancillary Kit and AC Power,GLI-ATT ARSCL AC AHIB MRRH,W/ANC,2SFP
58112600031 | NEQ.13361 | EMERSON NETWORK POWER | 593.75 | Emerson Network Power,58112600031,,,,24V NetSure 700 8-position,Field Expansion,Shelf,,
F2012496 | NEQ.15919 | EMERSON NETWORK POWER | 6844 | Emerson Network Power,F2012496,,,,24V 12-String Battery,Cabinet,,,
CC390200-N-G | CEQ.16285 | Custom Cabinets & Racks | 367.76 | Custom Cabinets & Racks,CC390200-N-G,,,,Relay Rack Grey without,Anchor Kit,7ftX19in,,
3BK16817BJAA | CEQ.14170 | Lucent Technologies | 2357.3 | Lucent,3BK16817BJAA,ATW-14-B30007-B1,STANDARDIZATION EXCEPTION,,LTE 700L-AT RRH w/SMDF SFP,Remote Radio Head (RETUNED),RRH2x40-07L-AT,,
3MU00079AA | MIC.10439 | Alcatel-Lucent | 7854 | Alcatel-Lucent,3MU00079AA,,,,9500 MPR FLX16WS Cabinet,Configuration,1,,
SBNH-1D6565A | ANT.12213 | ANDREW CORPORATION | 990 | Andrew,SBNH-1D6565A,,DISCONTINUED USE,ANT.14035,Dual Broadband Xpol Antenna,,700/850 and AWS/PCS,,Quad-port 4ft,65deg,
3JR80240AAAA | CEQ.20197 | NOKIA | 2827 | Nokia,3JR80240AAAA,18US807974A05A,DISCONTINUED USE,CEQ.21287,AirScale B66 Micro RRH with,Ancillary Kit and AC,Power,,
12545-300-2 | NEQ.16095 | TELECT | 375.24 | Telect,12545-300-2,,,,Seismic Rack UEF Base Black,7FT x 19IN x 17.75IN with ISO,Pad and Concrete Anchors,included,
QS66512-2 | ANT.15066 | QUINTEL | 2232 | Quintel,QS66512-2,,,,6ft Ultra-Broadband,(700/850/PCS/AWS/WCS) 12-port,(4xLO+8HI) X-pol 65deg HBW,with,Kit
UC6601MUNODUW | CEQ.15124 | Ericsson | 2308.04 | Ericsson,UC6601MUNODUW,,,,RBS 6601 UMTS MU -48V Initial,(3x1,3x5),,,
3JR80249AAAB | CEQ.21311 | NOKIA | 2503.62 | Nokia,3JR80249AAAB,18US807974A12B,,,AirScale LAA Micro RRH B46,with Ancillary Kit and AC,Power Converter Kit new AZRB,radio,
3JR38001AB-SWAP | CEQ.18576 | Lucent Technologies | 1 | Lucent,3JR38001AB-SWAP,,DISCONTINUED,,Remote Radio Head, RRH2x40-07,LAT RETUNED -48VDC AISG 2.0,FSM4 SWAP,ONLY,
742-264 | ANT.11385 | KATHREIN | 745 | Kathrein,742-264,,DISCONTINUED USE,ANT.10088,850/1900 4 FT 65 X Pole,Antenna,and bracket included,,
UC6601RDSCABEXP | CEQ.15538 | Ericsson | 2310 | Ericsson,UC6601RDSCABEXP,,,,RBS6601 RDS Cabinet Expansion,No,IRU/DOT,,
3JR37526AA-SWAP | CEQ.18579 | Alcatel-Lucent | 1 | Alcatel-Lucent,3JR37526AA-SWAP,,DISCONTINUED,,V5 Subrack BBU Chassis with,backplane -48V 9412 (PDU),FSM4 SWAP,ONLY,
SLS-BN00BVRAAT | CEQ.24498 | SAMSUNG INFORMATION SYSTEMS | 13500 | Samsung,SLS-BN00BVRAAT,,,,CBRS 64T64R MMU - Radio,Unit,,,
SFG-ACR01XRAAT | CEQ.44106 | SAMSUNG INFORMATION SYSTEMS | 1900 | Samsung,SFG-ACR01XRAAT,,,,39GHz Pico 360 (mmWave radio)
SLS-BN0100DAAT | CEQ.21507 | SAMSUNG INFORMATION SYSTEMS | 5000 | Samsung,SLS-BN0100DAAT,,,,LMD Controller,Card,,,
UCWLLNOSUPBB5216 | CEQ.20554 | Ericsson | 3981.4 | ERICSSON,UCWLLNOSUPBB5216,,DISCONTINUED USE,CEQ.44745,**WLL ONLY** RBS6601 No SUP BB5216
2000004800 | CEQ.18306 | PURCELL SYSTEMS | 3873 | Purcell,2000004800,,,,FLX21-2520 Cabinet with,130W/C HEX door and 650W,Heater, PDU, Fiber Storage,21RU mounting,space
7779103 | CEQ.18359 | CommScope | 2551 | CommScope,7779103,,,,Rack 19 inch 47 HU Indoor,perf. with,pack,,
474861A | CEQ.22413 | NOKIA | 2643 | Nokia,474861A,18US826350A15A,,,AHNA AirScale RRH 4T4R B30,100W,,,
SBJAH4-1D65B-DL | ANT.15074 | CommScope | 2933 | CommScope,SBJAH4-1D65B-DL,,,,6ft Ultra-broadband,(700/850/PCS/AWS/WCS) 12-Port,(4xLO+8xHI) X-Pol 65deg HBW,with,Kit
UCRRUS12B4-48 | CEQ.13679 | Ericsson | 4985.83 | Ericsson,UCRRUS12B4-48,,SURPLUS INVENTORY,,RRUS12 B4 1700/2100, 5MHz BW, 2x60W -48V
80010866 | ANT.14448 | KATHREIN | 2202.62 | Kathrein,800 10866,,DISCONTINUED USE,ANT.14592,8ft Ultra-broadband,(700/850/PCS/AWS/WCS),hex-port (2LO+4HI) X-pol,,65deg HBW,Antenna
UCRADIO8843B66AB2 | CEQ.20543 | Ericsson | 8242.33 | Ericsson,UCRADIO8843B66AB2,,,,RADIO 8843 B66A+B2 2X4X40W,2X10,2X10,,
UCRRUS12B2-48 | CEQ.13681 | Ericsson | 2641.71 | Ericsson,UCRRUS12B2-48,,SURPLUS INVENTORY,,RRUS12 B2 1900, 10MHZ BW, 2x60W -48V
UCRADIO4415B2-48 | CEQ.18397 | Ericsson | 3981.3 | Ericsson,UCRADIO4415B2-48,,DISCONTINUED USE,CEQ.44912,RADIO 4415 B2/25 4X40W, 10MHZ -48V
BSA-M65R-BUU-H6-K | ANT.14696 | CCI (Circuit Components, Inc.) | 9350 | CCI,BSA-M65R-BUU-H6-K,,,,Ultra Broadband,(700/850/PCS/AWS/WCS),Bi-sector Xpol Antenna, incl,RET motors and mount,bracket
EPBQ-654L8H6-L2 | ANT.16114 | KMW | 2450 | KMW,EPBQ-654L8H6-L2,,DISCONTINUED USE,ANT.45559,6ft Ultra-Broadband (700/850/PCS/AWS/WCS) 12-Ports (4xLO+8xHI) X-Pol 65deg Antenna HBW, 4 Indep Tilts, Kit w/Stnd Mounting Bracket & Actuators
HX-C85P19L70A17-DC-B | CEQ.12064 | MobileAccess Networks | 10191 | MobileAccess Networks,HX-C85P19L70A17-DC-B,,,,Outdoor HX Quad ServiceRemote End Indoor Unit, Cell/ PCS / AWS / 700 MHz LTESolution, supports remote DCpower / SMF / MMF (Core)
MWR-2941-DC | NEQ.13693 | Cisco Systems (CISCOPRO) | 2461.8 | Cisco,MWR-2941-DC/MWR-2941-DC-A,,,,Mobile Wireless Router,SIAD,,,
UC6601BB5216EXP | CEQ.17573 | Ericsson | 5438.83 | Ericsson,UC6601BB5216EXP,,,,RBS6601 BB5216,EXPANSION,,,
BKV106176/2 | CEQ.20484 | Ericsson | 140 | Ericsson,BKV106176/2,,,,Fan Unit/Fan 01 (Fan Tray0,,24,VDC,,
UCRDSSIAD1 | NEQ.19557 | Ericsson | 2156 | Ericsson,UCRDSSIAD1,,,,EQUIPPED SHELF/ASR901 RTR-TDM+ETH MODEL
QS86512-2 | ANT.15330 | QUINTEL | 3742.06 | Quintel,QS86512-2,,,,8ft Ultra-Bradband,(700/850/PCS/AWS/WCS) 12 Port,(4XLO+8XHI) X-Pol 65deg,Antenna HBW with,Kit
UC6601ODNODU | CEQ.17231 | Ericsson | 9300.21 | ERICSSON,UC6601ODNODU,,DISCONTINUED,,RBS 6601 OUTDOOR V2 NO DU,3SFP,,,
RPM777298/10000 | CEQ.11288 | Ericsson | 96.88 | Ericsson,RPM777298/10000,,,,CABLE WITH CONNECTOR/DC POWER,CABLE,,,
RPM77701/00180 | CEQ.11286 | Ericsson | 87.19 | Ericsson,RPM77701/00180,,,,CABLE WITH CONNECTOR/SIGNAL,CABLE,,,
UC2203B66ACNOANT | CEQ.17265 | Ericsson | 3564.63 | Ericsson,UC2203B66ACNOANT,,,,RADIO 2203 AC B66A NO ANT,20MHZ,10MHZ,,
UCRADIO4478B5-48 | CEQ.18675 | Ericsson | 4151.3 | Ericsson,UCRADIO4478B5-48,,DISCONTINUED USE,CEQ.44915,RADIO 4478 B5 4X40W,10MHZ-48V
UC6201DUS41B | CEQ.16685 | Ericsson | 9706.49 | ERICSSON,UC6201DUS41B,,DISCONTINUED,,RBS6201 No RU,,20W,,,
SXA1342193/2 | CEQ.14773 | Ericsson | 35 | Ericsson,SXA1342193/2,,,,MECHANICAL COMPONENT/Dummy 31,(Face,Plate),,
UC6601MUBB5216A | CEQ.44811 | Ericsson | 7238.46 | Ericsson,UC6601MUBB5216A,,,,RBS6601 Indoor Baseband 5216
UC6601MUBB5216A_AB | CEQ.44836 | Ericsson | 1573.13 | Ericsson,UC6601MUBB5216A_AB,,,,UC6601MUBB5216A_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UC6601MUBB5216A
UCRRUS01B2-48 | CEQ.12113 | Ericsson | 2625.31 | Ericsson,UCRRUS01B2-48,,STANDARDIZATION EXCEPTION,,RRUS01 B2 1900, 5MHz BW,,1x80W,,-48V,,
S9500-30XS-PN0 | NEQ.20701 | UFI SPACE CO. LTD | 3563.21 | UFI Space Co. LTD,S9500-30XS-PN0,,,,1RU Chassis SIAD System package
AHIB-COM-AC-B66 | CEQ.18501 | Alcatel-Lucent | 2827 | Alcatel-Lucent,AHIB-COM-AC-B66,17US761699C00C,DISCONTINUED USE,CEQ.20197,AirScale Micro RRH B66 AC,Power with Ancillary,Kit,,
QS4658-3E | ANT.16161 | QUINTEL | 1898 | Quintel,QS4658-3e,,,,4ft Ultra-Broadband (700/850/PCS/AWS/WCS) 8 Port (4xLO+4xHI) X-Pol 65Deg HBW 4 Indp Tilts with Stnd Mounting Bracket & Actuators Kit
SXK1250461/1 | CEQ.17833 | Ericsson | 221.46 | Ericsson,SXK1250461/1,,,,ASSEMBLED PARTS/ASSEMBLED,PARTS (DUAL,BT),,
UCRADIO4478B14-48A | CEQ.44932 | Ericsson | 5029.66 | Ericsson,UCRADIO4478B14-48A,,,,Radio 4478 B14 4X40W,10MHZ-48V
12545KW203-1 | NEQ.16097 | TELECT | 435.24 | Telect,12545KW203-1,,DISCONTINUED USE,NEQ.16094,EIA Rack UEF Base Grey 8FT x,19IN x 17.75IN with ISO Pad,and Concrete Anchors,included,
ESOF030-HCU01 | NEQ.20111 | Delta Communications Group | 14082 | Delta,ESOF030-HCU01,,,,3-Bay Low Profile WUC cabinet with 3 Thermosiphons
150021840 | NEQ.15266 | LINEAGE POWER | 5650 | Lineage Power,150021840,,STANDARDIZATION EXCEPTION,,1200A 24V Infinity M (dual,voltage) Power Plant w (4),universal power shelves,,Mounted in 23in 7ft frame ASG,Only
7112830N-2DA-000-B | CEQ.11992 | Custom Cabinets & Racks | 1032 | Custom Cabinets & Racks,7112830N-2DA-000-B,,,,Cabinet Structure (blue),w/Raised Floor Anchor Kit,,Ground Bar, Isolation Mat, 2,Mounting Rails, Wire,Management Panels (no doors or
7570018201 | CEQ.28911 | TRIMM INC | 135 | Trimm,7570018201,,DISCONTINUED USE,CEQ.12638,7570018201 Fuse Panel OV 10,Position + or -48/24V,19Wide,,
UC2203B2DCNOANTA | CEQ.44921 | Ericsson | 3364.37 | Ericsson,UC2203B2DCNOANTA,,DISCONTINUED USE,CEQ.45515,Radio 2203 DC B2 NO ANT 20MHZ
UC2203B2DCNOANTA_AB | CEQ.44943 | Ericsson | 529.89 | Ericsson,UC2203B2DCNOANTA_AB,,,,UC2203B2DCNOANTA_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UC2203B2DCNOANTA
186071 | CEQ.20408 | ROXTEC | 866.51 | Roxtec,186071,,DISCONTINUED USE,CEQ.46170,EZENTRY WUC KIT For WUC cabinet -7 - EzEntry 16/16, 3 - EzEntry 24/24 and 1 - Pre-compression Ectric Tool Compact
7724875-0020 | CEQ.20892 | CommScope | 2243 | CommScope,7724875-0020,,,,RMC1900 ION-M with ALARM with,BBU,Option,,
UCWLL3STO6SEXP | CEQ.16675 | Ericsson | 2905.94 | UCWLL3STO6SEXP,,,,(Comprised of Qty3,RDH10247/3) **WLL ONLY** 3 TO,6 SECTOR EXP NO DUS41,(Includes HW Activation,Code)
UCRADIO4478B14-48A_AB | CEQ.44942 | Ericsson | 29.66 | Ericsson,UCRADIO4478B14-48A_AB,,,,UCRADIO4478B14-48A_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UCRADIO4478B14-48A
UCRADIO4415B2-48A | CEQ.44912 | Ericsson | 4030.17 | Ericsson,UCRADIO4415B2-48A,,,,Radio 4415 B2/25 4X40W, 10MHZ -48V
UCRADIO4415B2-48A_AB | CEQ.44944 | Ericsson | 230.17 | Ericsson,UCRADIO4415B2-48A_AB,,,,UCRADIO4415B2-48A_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UCRADIO4415B2-48A
2000001691 | CEQ.11474 | PURCELL SYSTEMS | 3921.93 | Purcell,2000001691,,,,KIT, 70W/C HEX, VERSION,E,,,
UCSAU | CEQ.11664 | Ericsson | 632.56 | Ericsson,UCSAU,,DISCONTINUED USE,CEQ.44808,SAU Kit
UCNTM1012589_1A | CEQ.44806 | Ericsson | 1183.61 | Ericsson,UCNTM1012589_1A,,,,Spare part for SUP 6601, 48V, V2
UCNTM1012589_1A_AB | CEQ.44837 | Ericsson | 115.25 | Ericsson,UCNTM1012589_1A_AB,,,,UCNTM1012589_1A_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UCNTM1012589_1A
02121270-05379U | ANT.14344 | Galtronics | 39.5 | Galtronics,02121270-05379U,,,,PEAR S5379i Pigtail, Omni,(698-960, 1710-2700,,5200-6000 MHz) V-pol antenna,single,port
UCXMU03A | CEQ.44814 | Ericsson | 1425.99 | Ericsson,UCXMU03A,,,,Baseband R503 (XMU03)
UCXMU03A_AB | CEQ.44845 | Ericsson | 475.99 | Ericsson,UCXMU03A_AB,,,,UCXMU03A_AB Billing Line (Non-Orderable) for non-asset deliverable/SW for UCXMU03A
582127000100 | NEQ.19736 | VERTIV | 2292 | Vertiv,582127000100,,,,NetSure 7100 -48v Integrated,Power System w/o Battery,Trays,,
3JR89003AA | CEQ.20363 | NOKIA | 240 | Nokia,3JR89003AA,17US78540301A01A,,,ASIA Growth Ancillary Kit,Only,,,
582136700ZZ030 | NEQ.15821 | EMERSON NETWORK POWER | 864 | Emerson Network Power,582136700ZZ030,,,,NetSure 502 48V 23in,Integrated Power,System,,
KRC161299/2 | CEQ.13052 | Ericsson | 3950
KRC161299/2 | CEQ.13052 | Ericsson | 3950